CONSTRUCTION PROJECT MANAGEMENT

QUALITY CHECKLISTS

By Roy F. Parker

Version 3.0G DEMO

FOR Pages 11 through 44 (See Table of Contents for Checklists Covered) please send a check or money order for $9.99 to Roy F. Parker, 2916 Whitemarsh Place, Macungie, PA 18062. Please be sure to include your email address so we can send you the complete version. Also please confirm your order by email to solo1b@nni.com.

A THOUGHT PROCESS OF BETTER

CONSTRUCTION SUPERVISION FOR

PROJECT MANAGERS AND SUPERVISORS

Updated May 2000

Copyright 1985, 1990, 2000

Table of Contents - DEMO

FORWARD	3

INTRODUCTION	4

EXCAVATION CHECK LIST	5

FOOTING CHECK LIST	6

BLOCK LAYERS CHECK LIST	8

BACK FILL CHECK LIST	10

FRAMING CHECK LIST	Error! Bookmark not defined.

CORNISH, WINDOW AND DOOR CHECK LIST	Error! Bookmark not defined.

ROOFING CHECK LIST	Error! Bookmark not defined.

PLUMBING CONTRACTORS (ROUGH IN) CHECK LIST	Error! Bookmark not defined.

ELECTRICIAN’S (ROUGH IN) CHECK LIST	Error! Bookmark not defined.

INSULATION CONTRACTORS CHECK LIST	Error! Bookmark not defined.

HARDWOOD FLOOR CONTRACTOR CHECK LIST	Error! Bookmark not defined.

SIDING CONTRACTORS CHECK LIST	Error! Bookmark not defined.

HEATING CONTRACTORS CHECK LIST	Error! Bookmark not defined.

WET HEAT CONTRACTORS (ROUGH IN) CHECK LIST	Error! Bookmark not defined.

DRYWALL CONTRACTORS CHECK LIST	Error! Bookmark not defined.

DRYWALL FINISH 1ST COAT CHECK LIST	Error! Bookmark not defined.

DRYWALL PATCH AND SAND CHECK LIST	Error! Bookmark not defined.

GYP-CRETE CHECK LIST	Error! Bookmark not defined.

CHIMNEY AND FIREPLACE CHECK LIST	Error! Bookmark not defined.

STUCCO CHECK LIST	Error! Bookmark not defined.

BRICK LAYERS CHECK LIST	Error! Bookmark not defined.

FLAT WORK (INTERIOR) CHECK LIST	Error! Bookmark not defined.

FLAT WORK (EXTERIOR) CHECK LIST	Error! Bookmark not defined.

FINISHED HEAT (WET) CONTRACTORS CHECK LIST	Error! Bookmark not defined.

FINISHED HEAT (HOT AIR) CONTRACTORS CHECK LIST	Error! Bookmark not defined.

PAINTERS CONTRACTORS CHECK LIST	Error! Bookmark not defined.

FINISH ELECTRIC CONTRACTORS CHECK LIST	Error! Bookmark not defined.

CERAMIC TILE CONTRACTOR CHECK LIST	Error! Bookmark not defined.

CARPET AND VINYL FLOOR CHECK LIST	Error! Bookmark not defined.

RESILIENT FLOOR CONTRACTOR CHECK LIST	Error! Bookmark not defined.

TRIM WORK CONTRACTOR CHECK LIST	Error! Bookmark not defined.

FINISH PLUMBING CONTRACTOR CHECK LIST	Error! Bookmark not defined.

# FORWARD

The ABC’s of Construction… Always Before Continuing Check. The process outlined in the following forty-five pages has been a part of my life for as long as I can remember. My father lived, developed and documented this Construction Project Management process over his entire career as a Construction Operations Manager. In the 1980’s this process became the basis for the MRP II (Manufacturing Resource Planning) software I developed with my father for the construction industry. In the 1990’s the process also functioned as a tool for development and implementation of the Quality Systems Element (4.2) and the Internal Quality Audit Element (4.17) of ISO 9000 (International Standards Organization) for the construction industry. Now in the year 2000, the process functions in the construction industry as the Quality Checklist Output of the Quality Planning Process (Section 8.1.3.3 of the Project Management Body of Knowledge) as defined by the PMI (Project Management Institute). It has immediate, efficient and effective application in Construction Project Management today.

Michael Roy Parker

Project Manager, Business Systems Analyst

May 2000

# INTRODUCTION

This is a Comprehensive Guide and Checklist developed over a period of 40 years in the construction trade to ensure that work being performed is in keeping with the high quality and high integrity standards which I learned and which I have implemented throughout my career.

Roy F. Parker

May 2000

# EXCAVATION CHECK LIST

#### JOB NO. _______________		LOCATION ______________________________

All items must be checked and list signed by Field Superintendent before presenting invoice for payment.

| - Have you checked your plans and color selection sheet prior to starting? | _ Yes _ No |
| --- | --- |
| - Is there proper access for your equipment and deliveries? | _ Yes _ No |
| - Do you have a set of plans showing foundation layout of this house? | _ Yes _ No |
| - Are all batter boards intact upon starting, stakes for grade by Engineer? | _ Yes _ No |
| - Check Dimensions? | _ Yes _ No |
| - Check with transit all four corners of basements: Are they within 2 inches of each other? | _ Yes _ No |
| - Is there a min. of 2 feet around all footings excavated? | _ Yes _ No |
| - If answers to any of the above are NO do not start work until the condition is corrected. | _ Yes _ No |
| - Check with transit elevation of crawl spaces. Are they in a multiple of 8 inches from basement? | _ Yes _ No |
| - Is the crawl area within 2 inches of level? | _ Yes _ No |
| - When you start to dig footings are you averaging out your corners? | _ Yes _ No |
| - Are all footings resting upon undisturbed ground and min. of 8 inches in depth? | _ Yes _ No |
| - Will the mason be able to set foundation? | _ Yes _ No |
| - Are footings dry? | _ Yes _ No |

If any of the answers to the above questions are checked NO, the                                                                                                                                                                  superintendent will explain below:

We certify that the above work has been done in a workmanlike manner and suitable for the contractor who follows.

_______________________			____________________	__________

Excavating Contractor or Operator      	Job Superintendent              	Date

# FOOTING CHECK LIST

#### JOB NO. _______________		LOCATION _____________________________

All items must be checked and list signed by Field Superintendent before presenting invoice for payment.

| - Have you checked your plans and color selection sheet prior to starting? | _ Yes _ No |
| --- | --- |
| - Is there proper access for your equipment and deliveries? | _ Yes _ No |
| - Do you have a set of plans showing foundation layout of this house? | _ Yes _ No |
| - Are all batter boards intact upon starting, stakes for grade by Engineer? | _ Yes _ No |
| - Check Dimensions? | _ Yes _ No |
| - Check with transit all four corners of basements: Are they within 2 inches of each other? | _ Yes _ No |
| - Is there a min. of 2 feet around all footings excavated? | _ Yes _ No |
| - If answers to any of the above are NO do not start work until the condition is corrected. | _ Yes _ No |
| - Check with transit elevation of crawl spaces. Are they in a multiple of 8 inches from basement? | _ Yes _ No |
| - Is the crawl area within 2 inches of level? | _ Yes _ No |
| - When you start to dig footings are you averaging out your corners? | _ Yes _ No |
| - Are all footings resting upon undisturbed ground and min. of 8 inches in depth? | _ Yes _ No |
| - Will the mason be able to set foundation? | _ Yes _ No |
| - Are footings dry? | _ Yes _ No |
| - Is dirt removed from footings clear of interior of foundation or leveled off to be out of block layers or flat masons working area? | _ Yes _ No |
| - Was building department notified and inspection? | _ Yes _ No |

Name of Inspector: ____________________________  	Time Inspected: _________

If any of the answers to the above questions are checked NO, the superintendent will explain below:

Footing Checklist Continued

We certify that the above work has been done in a workmanlike manner and suitable for the contractor who follows.

_______________________			____________________	__________

Footing Contractor      				Job Superintendent              	Date

# BLOCK LAYERS CHECK LIST

#### JOB NO. _______________		LOCATION _____________________________

All items must be checked and list signed by Field Superintendent before presenting invoice for payment.

| - Have you checked your plans and color selection sheet prior to starting? | _ Yes _ No |
| --- | --- |
| - Is there proper access for your equipment and deliveries? | _ Yes _ No |
| - Do you have a set of plans showing foundation layout for the house? | _ Yes _ No |
| - Has this foundation been pinned by another contractor? | _ Yes _ No |
| - With transit check footings for level, check stepped footings for proper elevation, are footings level enough for you to have top course within ¼ inch on any wall, do footings have any cracks? | _ Yes _ No |
| - Are all footings in proper location, after first course is set will you have a minimum of 3 inches footing showing? | _ Yes _ No |
| - Are basement windows and anchor bolts on job site? | _ Yes _ No |
| - Are basement windows set, sill poured and sides properly stuccoed? | _ Yes _ No |
| - Are anchor bolts set at proper height and 8 feet OC around perimeter? | _ Yes _ No |
| - Are all interior joints struck and block clean? | _ Yes _ No |
| - Is exterior parged properly including cove between 1st course & footer? | _ Yes _ No |
| - Are beam pockets in proper location with solid block for beam bearing? | _ Yes _ No |
| - Has foundation coating been applied? | _ Yes _ No |
| - Is heater flue on the proper side of fireplace foundation? | _ Yes _ No |
| - Is fireplace ash dump floor level with clean out? | _ Yes _ No |
| - Is ash dump door sealed on top, bottom and sides? | _ Yes _ No |
| - Are the thimbles set properly? | _ Yes _ No |
| - Is first flue liner for heater set? | _ Yes _ No |
| - Is all debris and excess block removed from basement lot? | _ Yes _ No |
| - Check diagonal on basement, is it squared? | _ Yes _ No |

Block Layers Checklist Continued

If any of the answers to the above questions are checked NO, the superintendent will explain below:

We certify that the above work has been done in a workmanlike manner and suitable for the contractor who follows.

_______________________			____________________	__________

Block Contractor or Foreman			Job Superintendent              	Date

# BACK FILL CHECK LIST

#### JOB NO. _______________		LOCATION _____________________________

All items must be checked and list signed by Field Superintendent before presenting invoice for payment.

DO NOT BACK FILL ANY FOUNDATION THAT YOU, AS AN EXPERIENCED CONTRACTOR THINKS SHOULD BE BRACED BEFORE PROCEEDING. YOU WILL BE HELD LIABLE FOR ANY DAMAGE TO CRACKED OR BROKEN WALLS.

| - Have all materials from proceeding trade been removed from site? | _ Yes _ No |
| --- | --- |
| - Has foundation been waterproofed in all locations necessary? | _ Yes _ No |
| - Foundation, porches, garages, crawl spaces properly back filled and leveled off? | _ Yes _ No |
| - Is area surrounding foundation leveled off giving access for future deliveries? | _ Yes _ No |
| - Has any topsoil been used for back filling? | _ Yes _ No |
| - Check all walls with superintendent, are any bowed or cracked? | _ Yes _ No |

If any of the answers to the above questions are checked NO, the superintendent will explain below:

We certify that the above work has been done in a workmanlike manner and suitable for the contractor who follows.

_______________________			____________________	__________

Excavating Contractor or Foreman		Job Superintendent              	Date

FOR Pages 11 through 44 (See Table of Contents for Checklists Covered) please send a check or money order for $39.00 to Roy F. Parker, 2916 Whitemarsh Place, Macungie, PA 18062. Please be sure to include your email address so we can send you the complete version. Also please confirm your order by email to solo1b@nni.com.