SECTION 07210

REFLECTIVE INSULATION AND RADIANT BARRIER

Specifier Notes: This section covers Fi-Foil RBI Shield reflective bubble insulation intended as a multipurpose reflective insulation and radiant barrier for roofs, floors, slabs, and walls. Consult Fi-Foil for assistance in editing this section for the specific application.

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Reflective insulation and radiant barrier.

1.2	RELATED SECTIONS

Specifier Notes: Edit the following list of related sections as required for the project. List other sections with work directly related to this section.

A.	Section 06110 - Wood Framing.

B.	Section 07260 - Vapor Retarders.

C.	Section 07270 - Air Barriers.

D.	Section 09110 - Metal Furring Systems.

1.3	REFERENCES

Specifier Notes: List standards referenced in this section, complete with designations and titles. This article does not require compliance with standards, but is merely a listing of those used.

A.	ASTM C 1224 - Reflective Insulation for Building Applications.

B.	ASTM D 3310 - Determining Corrosivity of Adhesive Materials.

C.	ASTM E 84 - Surface Burning Characteristics of Building Materials.

D.	ASTM E 96 - Water Vapor Transmission of Materials.

E.	Federal Specification HH-I-1252B - Reflective, Thermal Cellulosic Fiber Insulating Board.

1.4	SUBMITTALS

A.	Comply with Section 01330 - Submittal Procedures.

B.	Product Data:  Submit manufacturer's product data, including installation instructions.  Indicate compliance with material requirements.

C.	Samples:  Submit manufacturer's sample, minimum 6 inches square.

1.5	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials to site in manufacturer's original, unopened containers and packaging, with labels clearly identifying material name and manufacturer.

B.	Storage:  Store materials in a clean, dry area indoors in accordance with manufacturer's instructions.

C.	Handling:  Protect materials during handling and installation to prevent damage.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Fi-Foil Company, PO Box 800, Auburndale, Florida 33823.  Toll Free (800) 448-3401.  Phone (863) 965-1846.  Fax (863) 967-0137.  Web Site www.fifoil.com.  E-Mail custserv@fifoil.com.

2.2	REFLECTIVE INSULATION AND RADIANT BARRIER

A.	Reflective Insulation and Radiant Barrier:  Fi-Foil RBI Shield reflective bubble insulation.

B.	Description:  4 mil film, 5/16 inch double bubble with facing on both sides.

C.	Compliance:

1.	ASTM C 1224.

2.	Federal Specification HH-I-1252B.

D.	Facing:  [Foil on both sides]  [Foil on one side and white polyethylene on other side].

E.	Testing:

1.	Water Vapor Performance, ASTM E 96:  0.00.

2	Flammability, ASTM E 84:

a.	Facing:  Foil/Foil.

1)	Flame Spread Rating:  16.

2)	Smoke Developed Rating:  23.

3)	Category:  Class A.

b.	Facing:  Foil/White Polyethylene.

1)	Flame Spread Rating:  0.

2)	Smoke Developed Rating:  10.

3)	Category:  Class A.

3.	Contact with Steel Corrosivity, ASTM D 3310:  None.

4.	Pliability, ASTM C 1224, Section 6.2.6.2:  None.

5.	Thermal Performance:

a.	Emissivity:  0.03 to 0.04.

b.	Reflectivity:  96 to 97 percent.

6.	Puncture Resistance:  60.05 psi.

7.	R-Value, Based on Heat Flow Down and Includes Lower Air Film:

a.	Drape Over Purlins With 1 Inch Airspace:

1)	Foil/Foil Facing:  R-10.

2)	Foil/White Polyethylene Facing:  R-6.5.

b.	Attach to Bottom of 6 Inch or 8 Inch Purlin:

1)	Foil/Foil Facing:  R-16.

2)	Foil/White Polyethylene Facing:  R-12.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Examine areas to receive reflective insulation and radiant barrier.  Notify Architect if areas are not acceptable.  Do not begin installation until unacceptable conditions have been corrected.

3.2	INSTALLATION

A.	Install reflective insulation and radiant barrier in accordance with manufacturer's instructions at locations indicated on the drawings.

B.	Seal joints in reflective insulation and radiant barrier with integrated tape tab or with manufacture approved foil or white poly tape.

C.	Replace damaged material as directed by Architect.

3.3	PROTECTION

A.	Protect reflective insulation and radiant barrier from damage during construction.

END OF SECTION