THE ELECTRICAL REFERENCE DATA BASE

by

FUTURE SYSTEMS

2306 STONEMILL CT.

RICHMOND,VA.,23233

(C) 1988

AUTHOR: David L. Lemaster, P.E.

4/1/88

The ELECTRICAL REFERENCE DATA BASE is copyrighted. The program

is shareware, and can be freely copied for trial use by others

on a PRIVATE NON-COMERCIAL BASIS.

Acceptance and use of this software is your acknowledgement

that you realize that this software may not suit your

requirements and may not be completely trouble-free.

The information referenced in this software was derived from

The National Electrical Code ( (c) 1984 , National Fire

Protection Association, Quincy,Massachusetts 02269 ).The

information is not the complete and official position of the

NFPA on any subject covered in this program.

If the following startup instructions are followed, this

software will perform as described.

Future Systems assumes no liability for the use of this

software, the interpetation of the enclosed data, the

applications of the data contained, or the accuracy of the data

herein.

As a user you are forbidden to distribute this software or any

future updates in connection with any other product or service,

or as part of a corporate or institutionally sponsored

distribution.

Future updates and registration of this software are available

from Future Systems for a fee of $45.00 per update.Send check or

money order to:

Future Systems

2306 Stonemill Ct.

Richmond, Va.,23233

PAGE 1

PURPOSE:

This data base was designed out of necessity.The information

contained is used by design electrical engineers and technicians

almost daily.Use this data base as a tool - not as a replacement

for the NEC manual!!

THE INFORMATION CONTAINED:

1. D.C. MOTORS

2. SINGLE PHASE MOTORS

3. THREE PHASE INDUCTION MOTORS

4. THREE PHASE WOUND ROTOR MOTORS

5. THREE PHASE SYNCHRONOUS MOTORS

The above data bases provide information as to full load

currents, motor over current protection rating, the size or

guage of the wire required to connect one motor of that

particular horsepower in a general purpose application, the

conduit trade size required to house the wire, the NEMA size

starter recommended,the amperage and the recommended fusing.

6.NEMA DATA

This data base is a listing of the NEMA code letters and their

related locked rotor KVA per horsepower,maximum rating or

setting of motor branch circuit protective devices,NEMA size

starters,Hazardous (classified) locations, and NEMA type

enclosures for starters.

7.MOTOR FRAME SIZES

Three phase frame sizes for open and totally enclosed,fan

cooled motors for general purpose are listed in a data base.

8.THREE PHASE CONDUCTORS AMPACITIES

This data base covers the wire guages #18 to 2000 MCM and

commonly used types of not more than three conductors in a

raceway etc.

PAGE 2

9.SINGLE PHASE CONDUCTOR AMPACITIES

10.MAXIMUM CONDUCTORS IN CONDUIT

11.THREE PHASE TRANSFORMERS

This data base contains the full load currents for three

phase transformers at various line to line voltages.

12.RECOMMENDED COPPER WIRE AND TRANSFORMER SIZES

This data base provides the maximum recommened distances

between a motor and transformer .

13.FILE RECOVERY MENU

This is a submenu that provides a utility to recover those

lost data files.

---------------------------------------------------------------

All of the above data bases contain a note area for those

reminders that designers like to note.All notes in each data

base are saved in that data base and become a part of it.

PAGE 3

HOW TO RUN THIS SOFTWARE

#PLEASE MAKE A BACKUP COPY OF EACH DISK BEFORE PROCEEDING!!!!!!!#

First you must have a hard disk drive !

Secondly, you must be using DOS 3.0 or better.

Create a directory called MOTORS or whatever you choose.

Change to that directory.

Make the hard drive your default drive.

Insert each disk into drive A and type "COPY A:*.*".

After all of the disks have been loaded, type "run".

If this is the first time that you are running this program

you will have to run the program "yoursys.com" to configure

the software to your particular computer.After this is done,

type "run" one more time.

WHAT SHOWS UP ON YOUR SCREEN

The first screen is the data base menu. Make a selection and

see what you get! Press the "?" key for help. This will explain

the selection of functions available and what they do.

If an area is displayed that says "NOTES:", this is your area

to make entries. To enter a note press "A" for add. To edit a

note, press "E" for edit--very complicated! It may be necessary

to use the (+) key to select file #2 to make note entries in

some cases.

IF you select "D" and delete your note - TOO BAD - it's gone!!

****************************************************************

****************************************************************

PAGE 4