Documents 0 - Introductory Information, Bidding Requirements, and Contract Requirements	19 Sections	Catalogs	Updated

00100	BID SOLICITATION	Invitation or advertisement for bids; may be letter form or published.	ASCME	Apr 98

00200	INSTRUCTIONS TO BIDDERS	Preparing and submitting bids; bid security; conditions of acceptance.	ASCME	Apr 98

00300	INFORMATION AVAILABLE TO BIDDERS	Identification of documents available elsewhere; eg. geotechnical reports.	ASCME	Mar 96

00410	BID FORM	Form for bidder entry of bid amount, time, alternatives, etc.	ASCME	May 96

00430	SUPPLEMENTS TO BID FORM	Form for use if none of the standard supplements, A thru I, are appropriate.	ASCME	Mar 96

00431	SUPPLEMENT A - LIST OF SUBCONTRACTORS	Form for bidder entry of subcontractor bids included in bid.	ASCME	Mar 96

00432	SUPPLEMENT B - LIST OF UNIT PRICES	Form for bidder entry of unit prices accompanying a lump sum bid.	ASCME	Mar 96

00433	SUPPLEMENT C - LIST OF ALTERNATIVES	Form for bidder entry of Add/Deduct amounts.	ASCME	Mar 96

00434	SUPPLEMENT D - LIST OF SEPARATE PRICES	Form for bidder entry of price of specific items.	ASCME	Mar 96

00435	SUPPLEMENT E - COST BREAKDOWN	Form for bidder entry of cost breakdown.	ASCME	Mar 96

00436	SUPPLEMENT F - LIST OF SUPPL MECH INFORMATION	Form for bidder entry of actual equipment items included in bid.	ASCME	Mar 96

00437	SUPPLEMENT G - LIST OF SUPPL ELEC INFORMATION	Form for bidder entry of actual equipment items included in bid.	ASCME	Mar 96

00438	SUPPLEMENT H - LIST OF EQUIPMENT	Form for bidder entry of actual equipment items included in bid.	ASCME	Mar 96

00439	SUPPLEMENT I - LIST OF TAX REBATE ITEMS	Form for bidder entry of 1) expected rebate amounts or 2) known rebate items.	ASCME	Mar 96

00500	AGREEMENT	Incorporates a standard Agreement form by reference, with optional amendments.	ASCME	May 98

00700	GENERAL CONDITIONS	Incorporates a standard General Conditions form by reference.	ASCME	May 98

00800	SUPPLEMENTARY CONDITIONS	Specific modifications to some standard forms of General Conditions.	ASCME	May 98

00910	ADDENDUM NUMBER 1	Addendum template.	ASCME	Oct 96

00999	SECTION TEMPLATE	For preparing new sections.  Section outline with some standard language.	ASCME	Mar 98

Division 1 - General Requirements 	19 Sections	Catalogs	Updated

01100	SUMMARY	Contract description(s); basic project conditions; work not shown on drawings.	ASCME	Feb 97

01200	PRICE AND PAYMENT PROCEDURES	Applications for payment, Schedule of Values, modifications, closeout procedures.	ASCME	Aug 96

01210	ALLOWANCES	Allowances procedures; description of allowances.	ASCME	May 98

01230	ALTERNATIVES	Alternatives (alternates) procedures; description of alternatives.	ASCME	Aug 96

01270	UNIT PRICES	Unit prices procedures; description of items to be priced or prices to be included.	ASCME	Mar 96

01300	ADMINISTRATIVE REQUIREMENTS	Submittals, meetings, schedules, reports, coordination, photographs, etc.	ASCME	Aug 96

01315	MECHANICAL AND ELECTRICAL COORDINATOR	Major project coordinator; coordination drawings.	ASCME	Aug 96

01325	CONSTRUCTION PROGRESS SCHEDULE	Detailed schedule requirements (augments Section 01300).	ASCME	Mar 98

01400	QUALITY REQUIREMENTS	Testing, inspection, mock-ups, reports, certificates; use of reference standards.	ASCME	Feb 98

01425	REFERENCE STANDARDS	Full title and edition date; use of reference standards (augments Section 01400).	ASCME	May 98

01500	TEMPORARY FACILITIES AND CONTROLS	Requirements not considered the contractor's option; utilities; facilities; services.	ASCME	Aug 96

01510	TEMPORARY UTILITIES	Augments Section 01500.	ASCME	Mar 96

01525	FIELD OFFICES	Augments Section 01500.	ASCME	Aug 96

01550	VEHICULAR ACCESS AND PARKING	Augments Section 01500.	ASCME	Aug 96

01565	SECURITY MEASURES	Contractor procedures; augments Section 01500.	ASCME	Aug 96

01585	PROJECT SIGNS	Project identification sign; other optional signs.	ASCME	Mar 96

01600	PRODUCT REQUIREMENTS	Product options, substitutions, delivery, storage, protection.	ASCME	May 96

01700	EXECUTION REQUIREMENTS	Basic installation requirements; cutting/patching; cleaning; starting of systems; etc.	ASCME	Dec 97

01780	CLOSEOUT SUBMITTALS	Project record documents; O & M manuals; warranties/bonds.	ASCME	Aug 96

Division 2 - Site Construction 	56 Sections	Catalogs	Updated

02074	GEOCOMPOSITE SHEET FOR SUBDRAINAGE SYSTEMS	Greenstreak Plastic Products Co., Inc. SHEET DRAIN and DECK DRAIN.	Free	Nov 97

02115	REMOVAL/DISPOSAL OF UNDERGND STORAGE TANKS	Includes removal of fuel contents and disposal of contaminated soil.	ACME	May 98

02221	BUILDING DEMOLITION	Complete building removal; salvage; utility cut-offs.	ASC	Jan 98

02223	MINOR DEMOLITION FOR REMODELING	Partial demolition, mostly interior, non-structural.	A	Mar 96

02230	SITE CLEARING	Removing trees, sod, plants, debris, minor paving, other site features.	ASC	May 97

02310	GRADING	Topsoil removal, rough and finish grading, topsoil placement and grading.	ASC	Apr 96

02315	EXCAVATION	Basic excavating for foundations, slabs-on-grade, and building utilities.	ASC	Aug 96

02316	FILL AND BACKFILL	Basic filling and backfilling for foundations, slabs-on-grade, and utilities.	ASC	Mar 98

02317	TRENCHING FOR SITE UTILITIES	Excavating, bedding, and backfilling for site utilities.	ACME	Mar 98

02318	ROCK REMOVAL	Mechanical or explosive removal of subsurface rock during excavation.	ASC	Mar 98

02341	CEMENT SOIL STABILIZATION	Treatment of site subsoil with cement for physical stability prior to construction.	ASC	Aug 97

02343	LIME SOIL STABILIZATION	Treatment of site subsoil with lime for physical stability prior to construction.	ASC	May 98

02361	SOIL TREATMENT FOR TERMITE CONTROL	Chemical soil treatment to control subterranean termites and other insects.	ASC	Apr 98

02373	RIPRAP	Loose stone or bagged aggregate for soil stabilization and slope protection.	ASC	Mar 96

02451	PILE LOAD TESTS	Pile load testing requirements for one or more of the piling sections.	ASC	Aug 97

02456	CONCRETE-FILLED STEEL PILES	Concrete-filled steel pipe piles, with or without conical tip, end bearing type.	ASC	Mar 96

02458	PRECAST CONCRETE PILES	Driven prestressed concrete piles, with or without steel points, connecting ends.	ASC	Jan 98

02461	STEEL H PILES	Driven H-section steel piles, with protective coating.	ASC	Aug 97

02463	TIMBER PILES	Driven wood friction piles, with or without preservative treatment.	ASC	Mar 98

02466	AUGER CAST GROUT PILES	Made by injecting concrete grout through hollow auger shaft while withdrawing auger.	ASC	Dec 97

02467	PRESSURE INJECTED FOOTINGS	Concrete footings, compacted in place to form an expanded bulbous base.	ASC	Aug 96

02468	DRILLED CONCRETE PIERS (CAISSONS)	End bearing and friction type cast-in-place concrete piers in bored shafts.	ASC	Feb 98

02510	WATER DISTRIBUTION	Pipe materials, fittings, and valves for water systems between building and source.	ACME	Apr 98

02515	DISINFECTION OF WATER DISTRIBUTION SYSTEM	Disinfection of domestic site water services, utility supply and water wells.	ACME	Mar 98

02520	WELLS	Drilling a water well, casing and grouting, pump, and accessories.	ACME	May 98

02535	SANITARY SEWER PIPING	Gravity sanitary drain piping from building to sewer.	ACME	Mar 98

02540	SEPTIC TANK SYSTEM	Septic tank, distribution box and filter drainage field system.	ACME	Apr 98

02551	SITE GAS DISTRIBUTION	Pipe materials, fittings, and valves for natural or propane gas systems.	ACME	May 98

02582	UNDERGROUND ELECTRICAL DUCTS AND MANHOLES	Concrete-encased conduit and duct, and concrete manholes.	ACME	Apr 98

02585	WOOD UTILITY POLES	Wood poles and accessories for overhead site wire services.	ACME	Mar 98

02590	SITE GROUNDING	Grounding grids, loops, and other site-related grounding systems.	ACME	Apr 98

02610	PIPE CULVERTS	Corrugated steel and concrete pipe culvert and accessories.	ACME	Apr 98

02620	SUBDRAINAGE	Weep tile drainage system, including filter aggregate and filter fabric.	ASCME	Apr 98

02621	FOUNDATION DRAINAGE PIPING	CertainTeed "Form-A-Drain"; perimeter drainage, radon evacuation, footing formwork.	Free	Dec 97

02635	STORM DRAINAGE PIPING	Gravity storm drainage from building and from paved and landscaped areas.	ACME	Mar 98

02640	MANHOLES AND COVERS	Precast, cast-in-place, FRP, and masonry shaft construction and covers.	ASCME	Apr 98

02721	AGGREGATE BASE COURSE	Aggregate base course for placement under asphalt or concrete pavement.	AC	Mar 98

02741	BITUMINOUS CONCRETE PAVING 	Bituminous concrete for roads, parking areas, or sidewalks.	AC	Apr 98

02751	PORTLAND CEMENT CONCRETE PAVING	Concrete roads, parking areas, sidewalks, median barriers, integral curbs, gutters.	AC	Mar 98

02781	BRICK PAVERS	Clay brick pavers, primarily for exterior use, with various setting methods.	AC	Apr 98

02783	CONCRETE PAVERS	Various types of concrete pavers for exterior dry installation on sand bed.	AC	Apr 98

02785	STONE PAVERS	Marble, granite, or slate pavers for exterior installation on sand bed or mortar bed.	AC	Apr 98

02787	ASPHALT BLOCK PAVERS	Manufactured asphalt block and plank pavers; asphalt adhesive bed; no subbase.	AC	Apr 98

02810	IRRIGATION SYSTEM	Piped underground system; piping, sprinkler heads, valves, and controls.	ACME	Apr 98

02821	CHAIN LINK FENCES AND GATES	Fence, manually-operated gates; exterior post foundations.	AC	Apr 98

02834	MODULAR CONCRETE RETAINING WALLS	Anchor Wall Systems; "Vertica(R)," "Vertica Pro(R)," "Diamond(R)," and "Diamond Pro."	Free	Mar 98

02834	MODULAR CONCRETE RETAINING WALLS	Keystone Retaining Wall Systems; sculptured face units; geogrid reinforcement.	Free	May 98

02841	STEEL GUARDRAIL	Formed steel guardrail on steel or timber posts; for vehicle barriers.	AC	Apr 98

02843	PARKING BUMPERS	Precast concrete and wood; also curbs; on asphalt and concrete pavements.	AC	Apr 98

02849	RAMPS	REDD Team Manufacturing, Inc. modular aluminum ramp systems.	Free	Mar 98

02870	SITE AND STREET FURNISHINGS	Architectural Pottery; planters, receptacles, fountain, architectural and decorative.	Free	May 97

02921	SEEDING	Seeding of lawns; can cover re-seeding.	AC	Apr 98

02923	SODDING	Sod for lawns, including installation and maintenance until acceptance.	AC	Apr 98

02930	EXTERIOR PLANTS	Trees, bushes, vines, and ground covers; topsoil and soil preparation.	AC	Apr 98

02967	BITUMINOUS CONCRETE REMOVING AND RECYCLING	Milling or heating and removing, remixing, and replacing existing asphaltic concrete.	AC	Nov 96

02990	STRUCTURE MOVING	Preparation and relocation of structures and directly associated activities.	ASC	Aug 96

Division 3 - Concrete 	22 Sections	Catalogs	Updated

03051	CONCRETE COLOR ADDITIVE	Davis Colors concrete and masonry color additives.	Free	Aug 97

03100	CONCRETE FORMS AND ACCESSORIES	Materials required to form and maintain cast-in-place concrete until stripping.	ASC	Apr 98

03121	ARCHITECTURAL CONCRETE FORM LINERS	Greenstreak Plastic Products; "Uni-Cast", "Multi-Cast", and "Dura-Cast".	Free	Nov 97

03151	WATERSTOPS	Greenstreak Plastic Products; PVC  and hydrophilic.	Free	Mar 98

03152	APPLIED STRIP WATERSTOPS	Greenstreak Plastic Products; swellable strips, for non-moving joints.	Free	May 97

03200	CONCRETE REINFORCEMENT	Reinforcing steel and required supports for cast-in-place concrete.	ASC	May 98

03300	CAST-IN-PLACE CONCRETE	In situ concrete for structural building frame, slabs on grade, and other components.	ASCME	Mar 98

03356	CONCRETE FLOOR FINISHING	Special coatings, sealers, and hardeners for concrete slabs and toppings.	AS	Apr 98

03365	EXPOSED AGGREGATE CONCRETE FINISH	Materials and techniques for exposed architectural finish, including cleaning.	AS	Apr 98

03371	SHOTCRETE	Concrete pneumatically-applied; optional reinforcement and surface finishing.	ASC	Mar 98

03386	POST-TENSIONED STRUCTURAL CONCRETE	Post-tensioning of cast-in-place concrete structural framing members and slabs.	AS	Mar 98

03390	CONCRETE CURING	Procedures and materials for curing horizontal and vertical concrete surfaces.	AS	Mar 98

03411	STRUCTURAL PRECAST CONCRETE	Plant precast and prestressed concrete framing members.	ASC	May 98

03415	PRECAST CONCRETE HOLLOW CORE PLANKS	Plant precast prestressed concrete roof and floor planks, cored for lighter weight.	AS	May 98

03451	ARCHITECTURAL PRECAST CONCRETE	Plant cast architecturally finished concrete wall panels.	AS	May 98

03455	GLASS FIBER REINFORCED CONCRETE	Plant cast, architecturally finished glass fiber reinforced concrete wall units.	A	Apr 98

03470	TILT-UP PRECAST CONCRETE	Site cast concrete wall panels; with supports, anchors, top bearing devices.	ASC	May 98

03505	SELF-LEVELING UNDERLAYMENT	Liquid applied, gypsum or cementitious base, installed over interior subfloors.	A	Apr 98

03521	LIGHTWEIGHT INSULATING CONCRETE	Portland cement concrete fill used mainly to achieve sloped roof deck surfaces.	AS	Apr 98

03530	CONCRETE TOPPING	Mortex; Keystone Kool-Deck and Marquee; for cooler surfaces.	Free	Aug 97

03921	PREPARATION FOR RESURFACING CONCRETE	Preparation of existing concrete pavement for new asphalt or concrete surface.	ASC	Mar 96

03932	CONCRETE REPAIR	Repair of concrete and patching or repair of damaged or deteriorated concrete.	ASC	May 98

Division 4 - Masonry 	20 Sections	Catalogs	Updated

04065	MORTAR AND MASONRY GROUT	Mortar and grout for all masonry work. 	ASC	Mar 98

04080	MASONRY REINFORCEMENT SYSTEMS	Hohmann & Barnard; seismic-rated systems.	Free	Aug 97

04221	GLAZED CONCRETE MASONRY UNITS	The Burns & Russell Co./Spectra Technologies Group; glazed concrete masonry.	Free	May 98

04700	SIMULATED MASONRY	Stone Products Corp.; interior or exterior nonstructural lightweight veneer.	Free	May 98

04720	CAST STONE	Continental Cast Stone Manufacturing, Inc.; precast components simulating nat. stone.	Free	Mar 98

04721	CAST STONE ORNAMENTS	Pineapple Grove Designs; cast stone ornaments for comm/residential applications.	Free	Oct 97

04810	UNIT MASONRY ASSEMBLIES	Most ordinary uses of masonry, including walls or partitions and masonry veneer.	ASC	Apr 98

04811	SINGLE-WYTHE UNIT MASONRY	Loadbearing or non-loadbearing single wythe masonry walls or partitions.	A	Apr 98

04812	GLASS UNIT MASONRY	Plain and decorative designs, reinforcement, joints, and accessories.	A	Apr 98

04812	GLASS BLOCK WINDOW AND WALL SYSTEM	IBP Grid Systems; "IBP Glass Block Grid System".	Free	Aug 97

04813	GLASS BLOCK SKYLIGHT SYSTEM	IBP Grid Systems; "IBP Glass Block Grid System".	Free	Aug 97

04814	GLASS PAVER FLOOR SYSTEM	IBP Grid Systems; "IBP Glass Block Grid System".	Free	Aug 97

04815	CAVITY WALLS	Concrete masonry, brick, and clay tile units; reinforcement and accessories.	A	Apr 98

04816	MASONRY VENEER	Unit masonry for non-loadbearing exterior veneer walls.	A	Apr 98

04820	REINFORCED UNIT MASONRY ASSEMBLIES	Engineered, steel reinforced, structural and load bearing masonry.	ASC	May 98

04840	PREFABRICATED MASONRY PANELS	Shop fabricated masonry panels of face brick veneer on steel framing.	A	Apr 98

04851	CUT STONE VENEER	Thin stone veneer for exterior and interior walls, attached to structural backup.	A	Apr 98

04852	STONE MASONRY VENEER	Natural stone, set in mortar, for veneer on exterior and interior walls.	A	Apr 98

04900	MASONRY RESTORATION AND CLEANING	Water, steam, or chemical cleaning, sand blasting, repointing, and coatings.	A	Apr 98

04901	MASONRY RESTORATION MORTARS AND GROUTS	Jahn Masonry Restoration Mortars; for concrete, masonry, terra cotta, stone.	Free	May 97

Division 5 - Metals 	20 Sections	Catalogs	Updated

05080	FACTORY-APPLIED METAL COATING SYSTEM	Elf Atochem North America, Inc.; factory-applied metal coating system.	Free	May 98

05120	STRUCTURAL STEEL	Structural steel framing, anchor bolts, base plates, accessories, and shop finishing.	ASC	Mar 98

05210	STEEL JOISTS	Structural steel open web joists and joist girders for roof and floor framing.	AS	Apr 98

05310	STEEL DECK	Structural metal deck, for floor and roof applications.	AS	Apr 98

05311	NON-COMPOSITE STEEL FORM DECK	United Steel Deck; SDI specification.	Free	Mar 98

05312	COMPOSITE STEEL DECK	United Steel Deck; SDI specification.	Free	Mar 98

05313	STEEL ROOF DECK	United Steel Deck; SDI specification.	Free	Mar 98

05400	COLD FORMED METAL FRAMING	Axially loaded steel studs, slotted channels, joists, and purlin framing.	AS	Apr 98

05500	METAL FABRICATIONS	Shop fabricated metal items of steel or aluminum.	AS	Mar 98

05510	METAL STAIRS	Shop-fabricated steel stairs with various types of treads and landings.	AS	Apr 98

05512	ALTERNATING TREAD METAL STAIRS	Lapeyre Stair; steel, aluminum and stainless steel.	Free	Aug 97

05515	EXIT LADDER DEVICES	Jomy Safety Products, Inc.; emergency egress and equipment access ladders.	Free	Oct 96

05520	HANDRAILS AND RAILINGS	Pipe and tube railing systems; aluminum or steel; custom fabricated or proprietary.	A	Apr 98

05522	TEMPERED GLASS RAILING ASSEMBLIES	ACI Distribution; tempered glass handrail assemblies.	Free	Aug 97

05531	GRATINGS AND FLOOR PLATES	Metal bar gratings and floor plates, pedestrian or light vehicular.	AME	Mar 98

05700	ORNAMENTAL METAL	Architectural Grille; grilles and louvers; security grilles and doors; railing panels; etc.	Free	Nov 96

05715	PREFABRICATED SPIRAL STAIRS	Production or custom manufactured spiral stairs; varying material and finishes.	A	Apr 98

05731	ORNAMENTAL ALUMINUM COLUMNS	Moultrie Manufacturing Company ornamental aluminum columns.	Free	Aug 97

05735	ORNAMENTAL SHEET METAL ENCLOSURES	Metalwerks ornamental sheet metal enclosures.	Free	Mar 98

05810	EXPANSION JOINT COVER ASSEMBLIES	Proprietary products for interior floor, wall, ceiling expansion or control joint covers.	A	Apr 98

Division 6 - Wood and Plastics 	28 Sections	Catalogs	Updated

06062	MEDIUM DENSITY FIBERBOARD	Medite Division; standard, fire-rated, and specialty fiberboard.	Free	Mar 98

06062	PREFINISHED WOOD PANELS	States Industries; panels prefinished with NOVA Ultrviolet Cured Flatline Finish.	Free	Mar 98

06067	WOOD, METAL, AND PLASTIC SURFACING MATERIALS	Formica; laminates and cast plastic panels and plumbing fixtures.	Free	Mar 98

06067	PLASTIC AND METAL SURFACING MATERIALS	Wilsonart; laminates and cast plastic panels and plumbing fixtures.	Free	Mar 98

06071	PRESSURE-TREATED WOOD PRODUCTS	Chemical Specialties, Inc.; preservative and fire-retardant treatments of wood/plywood.	Free	Mar 98

06072	FIRE-RETARDANT TREATED WOOD PRODUCTS	Hickson; DRICON treated lumber, plywood, sheathing, underlayment.	Free	Mar 98

06072	FIRE-RETARDANT TREATMENT OF WOOD	Hoover Treated Wood Products; "Pyro-Guard" low hygroscopic treatment.	Free	Mar 98

06100	ROUGH CARPENTRY	Wood framing and sheathing, rough wood blocking and curbing.	AS	Apr 98

06114	WOOD BLOCKING AND CURBING	Rough wood blocking and curbing for miscellaneous locations.	AME	Apr 98

06131	HEAVY TIMBER FRAMING	Structural wood framing comprised of components 5 inches minimum thickness.	AS	Apr 98

06136	HEAVY TIMBER TRUSSES	Heavy timber truss framing, bolted metal connector plates and split ring connections.	AS	Apr 98

06139	TIMBER CONSTRUCTION	Western Red Cedar Lumber Association; timber const and landscape structures.	Free	May 98

06150	WOOD DECKING	Structural wood decking of softwood lumber, plywood, or glued laminated lumber.	AS	Apr 98

06151	CEDAR DECKING	Western Red Cedar Lumber Association; cedar decking.	Free	May 98

06152	WOOD ROOF DECKING	Homasote Co.; roof decking.	Free	May 98

06165	FIBERBOARD UNDERLAYMENT	Homasote Co.; fiberboard underlayment.	Free	May 98

06171	WOOD CHORD METAL JOISTS	Structural joists of wood chords with tubular metal web truss web and steel pins.	AS	Apr 98

06173	PLATE CONNECTED WOOD TRUSSES	Shop fabricated wood trusses with wood or steel plate connectors.	AS	Apr 98

06176	PLYWOOD WEB JOISTS	Structural joists; wood chords with plywood or particleboard web; glued assembly.	AS	Apr 98

06181	GLUED-LAMINATED STRUCTURAL UNITS	Shop fabricated glue laminated structural wood beams, purlins and arches.	AS	Apr 98

06200	FINISH CARPENTRY	Interior and exterior finished carpentry and woodwork items.	A	Mar 98

06221	WOOD TRIM	Western Red Cedar Lumber Association; wood trim.	Free	May 98

06410	CUSTOM CABINETS	Special fabricated custom design casework of wood or particle board.	A	Apr 98

06414	CABINET DRAWER SLIDES AND CABNT ACCESSORIES	Accuride International, Inc. drawer slides and other cabinet hardware products.	Free	Oct 97

06414	CABINET LOCKS	Kenstan Lock; door, drawer, and metal cabinet locks.	Free	Oct 97

06423	WOOD VENEER FACED PANELING	Architectural quality, custom, shop-fabricated  wood veneer paneling.	A	Apr 98

06610	GLASS FIBER AND RESIN FABRICATIONS	Custom sized and shaped fiber reinforced epoxy or polyester resin components.	A	Apr 98

06620	CAST PLASTIC FABRICATIONS	Custom sized and shaped cast plastic components such as washroom vanities.	A	Apr 98

Division 7 - Thermal and Moisture Protection 	92 Sections	Catalogs	Updated

07115	BITUMINOUS DAMPPROOFING	Hot and cold applied asphalt and hot applied coal tar bitumen dampproofing.	A	Apr 98

07120	BUILT-UP BITUMINOUS WATERPROOFING	Hot or cold applied asphalt or hot applied coal tar bitumen waterproofing.	AC	Apr 98

07130	SHEET WATERPROOFING	Numerous types of sheet membrane waterproofing.	AC	Apr 98

07140	FLUID-APPLIED WATERPROOFING	Rubberized asphalt, synthetic liquid rubber, and cold-applied elastomeric types.	AC	Apr 98

07152	LEAD MEMBRANE WATERPROOFING	Lead Industries Association; welded or soldered joints; protection board.	Free	Mar 98

07161	METALLIC OXIDE WATERPROOFING	Coatings applied to interior side of concrete floors and walls below grade. 	AC	Apr 98

07162	CRYSTALLINE WATERPROOFING	VANDEX SUPER by Vandex Sales and Services, Inc., for standard applications.	Free	Mar 98

07170	BENTONITE WATERPROOFING	Panel waterproofing for below grade vertical and horizontal surfaces. 	AC	Apr 98

07185	TRAFFIC MEMBRANE	Fluid-applied elastomeric waterproofing for traffic surfaces.	A	Apr 98

07185	TRAFFIC MEMBRANE	Ensurco Duradek; PVC waterproof membrane for decks and other ext. horiz. surfaces.	Free	Apr 98

07190	WATER REPELLENTS	Transparent water repellents for masonry and other porous surfaces.	A	Apr 98

07190	WATER REPELLENTS	Chemprobe; siloxane and siloxane/silane; for vertical and horizontal surfaces.	Free	Apr 98

07190	WATER REPELLENTS	Rainguard Products Company; clear water repellents.	Free	May 98

07191	PENETRATING SEALER-PRIMER	SEAL-KRETE, Inc. Waterproofing Sealer, penetrating sealer-primer.	Free	Mar 98

07211	REFLECTIVE INSULATION/RADIANT BARRIER MATL	Astro-Foil reflective insulation/radiant barrier material.	Free	Aug 97

07212	BOARD AND BATT INSULATION	Rigid or semi-rigid boards of various types, plus batts and blankets.	A	Apr 98

07213	PRE-ENGINEERED BUILDING INSULATION	Thermal Design "Simple Saver System"; roof and wall insulation; vapor barrier.	Free	Mar 98

07214	FOAMED-IN-PLACE INSULATION	Foam insulation installed on site by spray, frothing, or pouring.	A	Apr 98

07214	SPRAYED FOAM INSUL FOR BUILDING ENVELOPE	Foam Enterprises sprayed polyurethane foam for building envelope insulation.	Free	Mar 98

07215	SPRAYED FOAM INSUL FOR COLD STOR FACILITIES	Foam Enterprises sprayed polyurethane foam insulation for coolers and freezers.	Free	Apr 98

07216	LOOSE FILL INSULATION	Pour grade vermiculite or perlite granular insulation.	A	Apr 98

07217	BLOWN INSULATION	Glass fiber or cellulose fiber insulation, manually or pneumatically placed.	A	Apr 98

07218	SPRAYED INSULATION	Sprayed glass fiber or treated cellulose thermal and acoustic insulation.	A	Apr 98

07221	ROOF INSULATION	Mizell Bros. "MI-T-R" roof insulation system; flexible faced glass fiber.	Free	Mar 98

07223	METAL BUILDING ROOF INSULATION	Therm-All, Inc. ConSealTab insulation system.	Free	Mar 98

07240	EXTERIOR INSULATION AND FINISH SYSTEMS	PB (thin) and PM (thick) EIFS; insulation, finish, and reinforcing.	A	Apr 98

07240	EXTERIOR INSULATION AND FINISH SYSTEM	Dryvit® Systems, Inc.; “Outsulation” system.	Free	May 98

07240	EXTERIOR INSULATION AND FINISH SYSTEM	Parex, Inc., cementitious or synthetic base coats;  Class PB and Class PM systems.	Free	May 98

07240	EXTERIOR INSULATION AND FINISH SYSTEM	Senergy "Senerflex Wall System"; Class PB; over insulation and other substrates.	Free	May 98

07240	EXTERIOR INSULATION AND FINISH SYSTEM	Sto Finish Systems Toughwall Class PM, Class PB, and RainScreen EIF Systems.	Free	May 98

07242	PRESSURE-EQUALIZED RAINSCREEN EIFS	Dryvit "Infinity System", with pressure-equalization and moisture drainage.	Free	Mar 98

07260	VAPOR RETARDERS	Materials used to prevent air and water vapor passage through building envelope.	A	Mar 96

07311	ASPHALT SHINGLES	Mineral granule surfaced asphalt composition shingles.	A	May 98

07311	ASPHALT SHINGLE ROOFING SYSTEM	CertainTeed; fiberglass and organic; multi-layered architectural.	Free	Oct 97

07313	WOOD SHINGLES AND SHAKES	Cedar and redwood shingles and shakes for installation on sloped wood decks.	A	May 98

07320	ROOF TILES	Clay, concrete, pre-finished galvanized steel, and pre-finished aluminum tiles.	A	May 98

07322	CLAY ROOFING TILE	Ludowici Roof Tile, Inc. clay roofing tile.	Free	May 98

07325	CERAMIC SLATE ROOFING	Celadon "Ceramic Slate"; slopes of 3:12 and up; underlayments and flashings.	Free	Oct 97

07410	METAL ROOF AND WALL PANELS	ATAS; non-insulated; aluminum, galvanized/Galvalume; PVDF, anodized.	Free	Mar 98

07410	METAL ROOF AND WALL PANELS	Prefinished, formed metal wall panels, liner panels, and insulation, for field assembly.	A	Apr 98

07410	METAL ROOF AND WALL PANELS	McElroy Metal; non-insulated; "Galvalume," galvanized, aluminum.	Free	Dec 97

07411	GALVALUME(R) ROOF PANELS	Bethelhem Steel "Galvalume" sheet fabricated into roof panels by other manufacturers.	Free	Aug 97

07411	METAL ROOF PANELS	Metal Sales Manufacturing Corporation Vertical Seam steel panel roofing system.	Free	Oct 97

07411	METAL ROOF PANELS	STEELOX Roofing Systems retro-fit steel panel roofing systems.	Free	Mar 98

07411	STAINLESS STEEL ROOF PANELS	Specialty Steel Industry of the U.S.; stainless and terne-coated stainless.	Free	Mar 98

07411	METAL ROOF PANELS	Metal panel roofing systems of U.S. Steel ACRYLUME(R) steel sheet.	Free	Aug 97

07415	FACTORY-ASSEMBLED METAL WALL PANELS	Inner and outer metal skins and insulation core; prefinished; secondary framing.	A	Apr 98

07430	COMPOSITE PANELS	Norfield Corporation; NorCore(R) plastic honeycombed core material.	Free	Mar 98

07430	COMPOSITE PANELS	Reynolds Metals Company; aluminum composite material.	Free	May 98

07435	LIGHT-TRANSMITTING PANELS	Sequentia Incorporated; composite wall and ceiling panels.	Free	May 98

07461	WOOD SIDING	Wood board and panel siding, including flat and beveled boards and plywood.	A	Apr 98

07462	CEDAR SIDING	Western Red Cedar Lumber Association; cedar siding.	Free	May 98

07464	VINYL SIDING	Alcoa; solid vinyl siding, ventilating and solid soffits; trim.	Free	Oct 97

07464	VINYL SIDING	Alside, Inc.; vinyl siding and soffits.	Free	May 98

07464	VINYL SIDING	CertainTeed vinyl siding, soffits and trim; polyolefin siding.	Free	Nov 97

07464	VINYL SIDING	Heartland Building Products;  super polymer and solid vinyl siding and soffit.	Free	Dec 97

07464	VINYL SIDING	Mastic; solid vinyl siding and soffit systems.	Free	May 98

07464	VINYL SIDING	Wolverine; siding and ventilated and solid soffits.	Free	Nov 97

07482	ARCHITECTURAL METAL WALL CLADDING	Metalwerks architectural metal wall cladding systems.	Free	Mar 98

07510	BUILT-UP BITUMINOUS ROOFING	Multi-ply felt roofing with asphalt or coal tar bitumen, including protected membranes.	A	Apr 98

07530	ELASTOMERIC MEMBRANE ROOFING	Single-ply roofing of EPDM, PVC, neoprene, etc.,  including protected membranes.	A	Apr 98

07533	MECH. ATT. SINGLE-PLY ETHYLENE PROPYLENE  RFG	JPS Elastomerics Corp; "High-Tuff/EP"; white, black, or gray.	Free	Mar 98

07550	MODIFIED BITUMINOUS MEMBRANE ROOFING	One- and two- ply systems, in both conventional and protected membranes.	A	Mar 98

07556	RUBBERIZED ASPHALT ROOFING	Single-ply rubberized asphalt bitumen sheet roofing in a protected membrane.	A	Apr 98

07570	COATED FOAMED ROOFING	Sprayed polyurethane foam insulation with a sprayed protective overcoat.	A	Apr 98

07570	COATED FOAMED ROOFING	Foam Enterprises coated polyurethane foam systems for new and remedial roofing.	Free	May 98

07595	PREPARATION FOR RE-ROOFING	Removal of existing horizontal roof covering in preparation for roof replacement.	A	Mar 98

07611	CUSTOM SHEET METAL ROOFING	Brake formed sheets; flat, standing, battened seam; prefinished or unfinished.	A	May 98

07612	SHEET COPPER ROOFING	Copper Development Association; copper and lead-coated copper.	Free	Mar 98

07613	SHEET STAINLESS STEEL ROOFING	Specialty Steel Industry of the U.S.; custom stainless, terne-coated stainless.	Free	May 98

07615	PROTECTED LEAD MEMBRANE ROOFING	Lead Industries Association; lead sheet; extruded polystyrene insulation; ballast.	Free	Mar 98

07620	SHEET METAL FLASHING AND TRIM	Flashing and trim associated with roofing and waterproofing membranes.	AME	May 98

07622	SHEET COPPER FLASHING AND TRIM	Copper Development Association; copper and lead-coated copper.	Free	Mar 98

07623	SHEET STAINLESS STEEL FLASHING	Specialty Steel Industry of the U.S.; stainless and terne-coated stainless.	Free	May 98

07631	GUTTERS AND DOWNSPOUTS	Metal and plastic rainwater gutters and downspouts for low rise construction.	A	May 98

07650	FLEXIBLE FLASHING	Polytite Manufacturing Corporation laminated copper through-wall flashings.	Free	May 98

07650	FLEXIBLE FLASHING	Sandell Manufacturing Co. laminated copper and synthetic through-wall flashings.	Free	May 98

07710	MANUFACTURED ROOF SPECIALTIES	Copings and facias, flexible flashings, snow guards, vents, and similar items.	A	May 98

07710	MANUFACTURED ROOF SPECIALTIES	Marathon; new and retrofit roof drains; scuppers; roof  vents; vent stack flashing.	Free	Oct 97

07712	MANUFACTURED COPPER ROOF SPECIALTIES	Copper Development Association.	Free	Mar 98

07713	MANUFACTURED STAINLESS STL ROOF SPECIALTIES	Specialty Steel Industry of the U.S.; stainless and terne-coated stainless.	Free	May 98

07723	RIDGE AND SOFFIT VENTS	Air Vent; ridge vents and soffit vents for wood frame structures.	Free	Mar 98

07723	RIDGE AND SOFFIT VENTS	Cor-A-Vent; high-density polyethylene or polypropylene ridge and soffit vents.	Free	Oct 97

07724	ROOF HATCHES AND VENTS	Hatches and vents with integral support curb or for use with site built wood curb.	A	Apr 98

07724	ROOF HATCHES AND VENTS	Naturalite hatches, heat and smoke vents; metal lids, plastic domes, drop out domes.	Free	Jan 98

07815	SPRAYED-ON FIREPROOFING	Cementitious and mineral fiber fireproofing, spray applied.	ASC	Apr 98

07840	FIRESTOPPING	Products for closing openings in fire-rated walls, partitions, and floors.	AME	Mar 98

07841	PARTITION-HEAD FIRESTOPPING	Fire Trak Corporation;  metal track system for fire-resistive gypsum partitions.	Free	Mar 98

07900	JOINT SEALERS	Gunnable and pourable sealants, compressible foam sealers, and gaskets.	ACME	May 98

07900	JOINT SEALERS	Polymeric Systems, Inc.; elastomeric, acrylic-latex, butyl; gunnable and pourable.	Free	Mar 98

07910	PREFORMED JOINT SEALS	Polytite Manufacturing Corp.; precompressed, self-expand. polyurethane foam sealers.	Free	Mar 98

07910	PREFORMED JOINT SEALS	Sandell Manufacturing Co.; precompressed, self-expand. polyurethane foam sealers.	Free	Mar 98

Division 8 - Doors and Windows 	68 Sections	Catalogs	Updated

08110	STEEL DOORS AND FRAMES	CECO; fire-rated, non-rated; embossed, glazed; security; borrowed-lites.	Free	Mar 98

08110	STEEL DOORS AND FRAMES	Benchmark; insulated doors; welded, adjustable, and retrofit frames.	Free	Mar 98

08110	STEEL DOORS AND FRAMES	Steel Door Institute; fire-rated, non-rated; louvers, lites.	Free	Mar 98

08110	STEEL DOORS AND FRAMES	Steelcraft; fire-rated and non-fire-rated, embossed, stile-and-rail; stick framing.	Free	Mar 98

08111	STANDARD STEEL DOORS	Hollow steel; SDI 100; fire-rated, non-rated; flush and stile and rail; glazing.	A	May 98

08112	STANDARD STEEL FRAMES	Fire rated and non-rated types; SDI 100.	A	Apr 98

08114	CUSTOM STEEL DOORS	Hollow steel; HMMA; fire-rated, non-rated; flush and stile and rail; glazing.	A	Apr 98

08115	CUSTOM STEEL FRAMES	Fire rated and non-rated types; HMMA.	A	Apr 98

08115	STEEL DOOR FRAMES	REDIFRAME; steel slip-on fixed-throat frames and adjustable-throat frames.	Free	Mar 98

08116	BULLET-RESISTANT STEEL DOORS AND FRAMES	Krieger Steel Products; bullet-resistant steel, frames, and hardware.	Free	May 98

08120	ALUMINUM DOORS AND FRAMES	Cline Aluminum Doors, Inc, aluminum doors and frames.	Free	May 98

08120	ALUMINUM DOORS AND FRAMES	Dor-O-Matic, aluminum doors and frames.	Free	May 98

08121	INTERIOR ALUMINUM DOOR AND GLAZING FRAMES	Wilson Partitions interior aluminum door and glazing frames.	Free	May 98

08162	ICU/CCU SLIDING DOORS	Dor-O-Matic, ICU/CCU-hospital sliding doors.	Free	May 98

08211	FLUSH WOOD DOORS	Buell Door Company; solid/hollow core, 5-ply architectural wood veneer doors.	Free	May 98

08211	FLUSH WOOD DOORS	Wood veneer, plastic laminate, hardboard; fire rated, acoustical, lead-lined; louvers.	A	Apr 98

08212	STILE AND RAIL WOOD DOORS AND FRAMES	Buell Door Company; non-rated & fire rated, wood panel or glazed doors.	Free	May 98

08212	STILE AND RAIL WOOD DOORS	Non-rated; wood panel or glazed; stock and custom.	A	Apr 98

08213	HIGH PRESSURE DECORATIVE LAM. VENEER DOORS	Buell Door Company; solid/hollow core, flush decorative laminate doors.	Free	May 98

08305	SLIDING GLASS DOORS	Light commercial quality; wood, PVC, or extruded aluminum.	A	Apr 98

08310	ACCESS DOORS AND PANELS	Metal access door and frame units for walls, ceilings and floors.	A	Apr 98

08330	COILING DOORS AND GRILLES	Alpine Overhead Doors, Inc.; complete line of overhead coiling service doors.	Free	Mar 98

08330	COILING DOORS AND GRILLES	Atlas; overhead and side-coiling; thermal, fire-rated, non-rated; counter shutters.	Free	Mar 98

08331	OVERHEAD COILING DOORS	Industrial and commercial quality; steel, stainless steel, and aluminum.	A	Apr 98

08332	OVERHEAD COILING GRILLES	Aluminum, steel, stainless steel, bronze; manual and electric.	A	Apr 98

08333	OVERHEAD COILING WOOD COUNTER DOORS	Woodfold-Marco; wood-slat-type counter doors; optional operators and factory finish.	Free	Nov 96

08335	COILING SECURITY SHUTTERS	QMI Roll Shutter; PVC, aluminum, steel counter/ security shutters for comm/residential.	Free	Oct 97

08341	ACOUSTICAL DOOR SYSTEMS	Krieger Steel Products; steel and wood acoustical doors and frames.	Free	Mar 98

08342	FBRGLASS REINF DR AND DR FRAME SYSTEMS	FIB-R-DOR; custom-fabricated; non-rated and fire-rated; louvers and lites.	Free	Mar 98

08342	FBRGLASS REINF PL DRS AND FBRGLASS DR FRMS	CHEM-PRUF Door Company; corrosion-resistant doors and frames; louvers and lites.	Free	Oct 97

08342	FIBERGLASS DOORS AND FRAMES	Warminster; seamless, corrosion-resistant doors and frames.	Free	Mar 98

08351	ACCORDION FOLDING DOORS	Acoustic and non-acoustic types; vinyl coated fabric; overhead track.	A	Apr 98

08351	ACCORDION FOLDING DOORS	Woodfold-Marco; acoustical, non-acoustical, security doors, room dividers.	Free	Mar 98

08360	OVERHEAD DOORS	Wood, steel, aluminum overhead sectional doors; manual and electric; glazing.	A	Apr 98

08391	BLAST RESISTANT STEEL DOOR SYSTEMS	Krieger Steel Products;  doors, frames, and hardware.	Free	May 98

08405	METAL-FRAMED CLAD ENTRANCES	ACI Distribution metal framed clad entrances.	Free	Mar 98

08410	METAL-FRAMED STOREFRONTS	Aluminum-framed, glazed; one-story application; doors, windows,  metal infill panels.	A	Apr 98

08450	ALL-GLASS ENTRANCES	ACI Distribution all-glass entrances; swinging, balanced, sliding types.	Free	Mar 98

08460	AUTOMATIC ENTRANCE DOORS	Packaged sliding/swinging doors; electric, hydraulic, pneumatic operators; actuators.	A	Apr 98

08461	AUTOMATIC SWINGING DOORS	Dor-O-Matic, swinging door packages, operators, actuators, and safeties.	Free	Mar 98

08462	AUTOMATIC SLIDING DOORS	Dor-O-Matic; aluminum and all-glass sliding door pkgs., operators, actuators, safeties.	Free	Mar 98

08465	AUTOMATIC FOLDING DOORS	Dor-O-Matic automatic folding door pkgs., operators, actuators, safeties and hardware.	Free	Mar 98

08470	REVOLVING ENTRANCE DOORS	Aluminum, stainless steel, bronze; manual and motor assisted.	A	Apr 98

08510	STEEL WINDOWS	Hot-rolled steel, commercial; formed steel, light commercial/residential.	A	Apr 98

08520	ALUMINUM WINDOWS	Extruded aluminum;  fixed or operable sash; glass and glazing; hardware; screens.	A	Apr 98

08550	WOOD WINDOWS	High quality, stock residential and commercial quality wood windows.	A	Apr 98

08561	TUBULAR PLASTIC WINDOWS	High and low quality residential and commercial quality PVC windows.	A	Apr 98

08565	VINYL (PVC) WINDOWS	ALSIDE; windows for retrofit and new construction; patio doors.	Free	Mar 98

08565	VINYL (PVC) WINDOWS	CertainTeed; New Castle vinyl windows, patio doors, and specialty windows. 	Free	Mar 98

08620	UNIT SKYLIGHTS	Skylights with a plastic dome and an aluminum perimeter frame.	A	Apr 98

08620	UNIT SKYLIGHTS	Naturalite skylights with acrylic and polycarbonate glazing.	Free	Mar 98

08630	METAL-FRAMED SKYLIGHTS	Site-assembled aluminum skylight systems; glass and plastic glazing.	A	May 98

08630	METAL-FRAMED SKYLIGHTS	Naturalite BMS 3000 skylights, for flat glass, plastic glazing or metal panel infill.	Free	Mar 98

08710	DOOR HARDWARE	Door hardware, thresholds, and gasketing.	A	Mar 98

08746	LOW-ENERGY DOOR OPERATORS	Dor-O-Matic, automatic door operators and activators.	Free	Mar 98

08747	FIRE DOOR OPERATORS	Dor-O-Matic, automatic door operators and activators.	Free	Mar 98

08760	WINDOW AND SKYLIGHT HARDWARE	Truth Hardware; hinges, locks, operators, and other hardware items.	Free	Mar 98

08800	GLAZING	Wide range of glass and plastic glazing, using various glazing methods.	A	Mar 98

08810	GLASS	Libbey Owens Ford; flat glass materials.	Free	Mar 98

08830	MIRRORS	Glass and plastic mirrors; various attachment and glazing methods.	A	Apr 98

08840	PLASTIC GLAZING	Sheffield Plastics; "HYZOD" polycarbonate and "HYGARD" laminated assemblies.	Free	Mar 98

08841	POLYCARBONATE GLAZING SHEET	GE Plastics Structured Products LEXAN(R) MR10 and XL10.	Free	May 98

08842	LAMINATED GLASS GLAZING	Solutia, Inc; laminated glass and glazing.	Free	May 98

08910	METAL-FRAMED CURTAIN WALL	Aluminum glazed wall system for multi-story application; optional operable sash.	A	Apr 98

08920	GLAZED ALUMINUM CURTAIN WALL SYSTEM	Vistawall Architectural Products; aluminum curtain wall systems. 	Free	Feb 98

08950	TRANSLUCENT WALL AND ROOF ASSEMBLIES	Factory-assembled panels with aluminum grid core; extruded  plastic cellular panels.	A	Apr 98

08950	TRANSLUCENT WALL AND ROOF ASSEMBLIES	Skywall Translucent Systems, skylight and wall systems; optional operable windows.	Free	Mar 98

08970	STRUCTURAL GLASS CURTAIN WALL	Suspended tempered glass, single pane wall system, shop fabricated.	A	Apr 98

Division 9 - Finishes 	55 Sections	Catalogs	Updated

09050	BASIC FINISH ACCESSORIES	Plastic Components, Inc.; .EIFS/DEFS, plaster, and gypsum board accessories  	Free	May 98

09100	METAL SUPPORT ASSEMBLIES	Radius Track Corporation.; .metal support assemblies  	Free	May 98

09111	NON-LOAD-BEARING METAL FRAMING	For interior partitions, ceilings; exterior non-wind-load-resisting, non-load-bearing walls.  	A	Apr 98

09206	METAL LATH	For gypsum and portland cement plaster; furring, ceiling framing, and accessories.	A	Apr 98

09210	GYPSUM PLASTER	Gypsum plaster interior finish; gypsum lath; trim accessories.	A	Apr 98

09215	GYPSUM VENEER PLASTER	Interior, maximum 1/4 inch thick; gypsum veneer base; trim accessories.	A	Apr 98

09220	PORTLAND CEMENT PLASTER	Interior and exterior finish; stucco.	A	Mar 98

09260	GYPSUM BOARD ASSEMBLIES	Gypsum board, sheathing, backer boards, wall and ceiling framing, shaft wall.	A	Apr 98

09300	TILE	Ceramic, quarry, and paver tile for floor, wall, base, and stair tread; setting materials.	A	Apr 98

09300	TILE	Southern Grouts & Mortars; setting and grouting products.	Free	Mar 98

09410	PORTLAND CEMENT TERRAZZO	Cementitious, ground and rustic; monolithic, sand cushion, and bonded.	A	Aug 97

09440	PLASTIC MATRIX TERRAZZO	Interior, thin, bonded; epoxy, polyacrylate/Portland cement, or polyester matrix.	A	Apr 98

09442	EPOXY THIN-SET TERRAZZO FLOORING SYSTEM	General Polymers; 1/4 to 3/8 inch (6.4 to 9.6 mm) thick system.	Free	Mar 98

09445	TERRAZZO TILE	Fritz Industries, Inc. marble, granite, and quartz terrazzo  tile.	Free	May 98

09511	SUSPENDED ACOUSTICAL CEILINGS	Suspension system; metal grid; mineral fiber, metal-faced, glass fiber panels.	A	Apr 98

09512	ADHESIVE APPLIED ACOUSTIC CEILINGS	Mineral fiber acoustic tile ceiling finish.	A	Apr 98

09520	METAL PANEL CEILINGS	Metalwerks Concept 2000 metal panel ceilings.	Free	Mar 98

09546	LINEAR METAL CEILING	Suspended, pre-finished , steel and aluminum ceiling and soffit systems.	A	Apr 98

09547	INTEGRATED CEILING	Suspension system, metal grid, acoustic panels, integral light fixtures, diffusers, etc.	AME	Mar 98

09548	WIDE PANEL METAL CEILING SYSTEMS	Hunter Douglas Architectural. Products, Inc.; metal ceilings.	Free	May 98

09548	LUMINOUS CEILING	Suspension system, metal grid, translucent ceiling panels; painting ceiling cavity.	AME	Apr 98

09622	RUBBER RECREATIONAL AND ATHLETIC FLOORING	Pawling Corporation rubber recreational and athletic flooring.	Free	Mar 98

09632	STONE FLOORING	Interior thin stone; mortar set or thin set; bases, thresholds, treads, risers.	A	Apr 98

09635	BRICK FLOORING	Industrial, decorative fired clay, and shale brick; mortar set; interior.	A	Apr 98

09641	HARDWOOD FLOORING - ADHESIVE APPLIED	Hardwood strip, plank, and parquet flooring, glued to substrate.	A	Apr 98

09642	HARDWOOD FLOORING - NAILED	Hardwood strip and plank flooring nailed to the substrate; resilient cushion blocks.	A	Apr 98

09650	RESILIENT FLOORING	Vinyl, vinyl composition, rubber, composites; sheet, tile, base, stair treads, risers.	A	Apr 98

09651	RESILIENT BASE AND FLOORCVRG ACCESSORIES	Mercer Products Company, Inc. resilient wall base and flooring accessories.	Free	May 98

09670	FLUID-APPLIED FLOORING	Fluid-applied flooring of any type, except ground plastic matrix terrazzo.	A	Apr 98

09672	RESILIENT URETHANE FLOORING	Resilient, fluid-applied, polyurethane elastomeric, self-levelling flooring.	A	Mar 98

09680	CARPET	Broadloom carpet; stretched-in and direct-glued; carpet cushion; trim accessories.	A	Apr 98

09685	CARPET TILE	Carpet tile (modules); fully adhered or loose laid; matching roll carpet.	A	Apr 98

09720	WALL COVERING	Vinyl-coated fabric wall covering.	A	Apr 98

09722	WALL FABRICS	Carnegie; Xorel and Xorel Two fabrics for wall covering and upholstery.	Free	Mar 98

09771	SIMULATED STONE WALL SURFACES	Quinstone simulated stone moldings, panels, ornamental items, and fireplace mantels.	Free	Aug 97

09772	FIBERGLASS REINFORCED PLASTIC PANELS	Sequentia; "Structoglas" and "Pyro Panl" composite wall and ceiling panels.	Free	Mar 98

09800	ACOUSTICAL TREATMENT	Eckel Industries; "Eckoustic" panels; steel, aluminum; wall, ceiling.	Free	Oct 97

09830	ACOUSTICAL BARRIERS	Homasote Co.; sound-deadening boards.	Free	May 98

09831	FIRE-RATED ACOUSTICAL BARRIERS	Homasote Co.; fire-rated sound-deadening panels.	Free	May 98

09841	FABRIC-COVERED ACOUSTICAL WALL PANELS	Homasote Co.; fabric-covered acoustical wall panels.	Free	May 98

09841	ACOUSTICAL WALL PANELS	Unique Concepts; . FABRI-TRAK(r) and Noise Reduction Concepts (NRC)(r) systems.	Free	Oct 97

09843	CORK-FACED ACOUSTICAL WALL PANELS	Homasote Co.; cork-faced acoustical wall panels.	Free	May 98

09900	PAINTS AND COATINGS	Paints, stains; on ordinary building surfaces, mechanical, electrical work. 	ACME	Apr 98

09900	PAINTS AND COATINGS	Duron, Inc. paints, stains, varnishes, urethanes, epoxies, and intumescent coatings.	Free	Mar 98

09901	EXTERIOR PAINTS AND STAINS	ICI Dulux Paints; paints and stains for common exterior substrates.	Free	Oct 97

09902	INTERIOR PAINTS AND STAINS	ICI Dulux Paints; paints and stains for common interior substrates.	Free	Oct 97

09930	STAINS AND TRANSPARENT FINISHES	Dura Seal;  stains, transparent finishes, and maintenance products.	Free	May 98

09940	DECORATIVE COATINGS	Sto Finish Systems exterior and interior decorative coatings.	Free	Mar 98

09960	HIGH-PERFORMANCE COATINGS	Carboline; coatings for steel, concrete, masonry, and other substrates.	Free	Mar 98

09960	HIGH-PERFORMANCE COATINGS	Fluid-applied coatings for durability, chemical resistance, corrosion resistance.	A	Apr 98

09960	HIGH-PERFORMANCE COATINGS	ICI Dulux Paints; polyamide epoxy systems.	Free	Oct 97

09963	ELASTOMERIC WALL COATINGS	Rainguard Products Company; elastomeric wall coatings.	Free	May 98

09965	AGGREGATE WALL SURFACING	Spray- and trowel-applied; epoxy, cementitious, or other synthetic matrix.	A	Apr 98

09965	GRAFFITI-RESISTANT COATINGS	Rainguard Products Company; graffiti-resistant coatings.	Free	May 98

09985	MASONRY STAIN SYSTEM	Rainguard Products Company; masonry stain system.	Free	May 98

Division 10 - Specialties 	46 Sections	Catalogs	Updated

10100	VISUAL DISPLAY BOARDS	Claridge; chalkboards, markerboards, & tackboards.	Free	Oct 97

10100	VISUAL DISPLAY BOARDS	Chalkboards, markerboards, tackboards; aluminum and wood frames; accessories.	A	Apr 98

10160	METAL TOILET COMPARTMENTS	Baked enamel, porcelain enamel, stainless steel; floor-, wall-, ceiling-mounted.	A	Apr 98

10160	METAL TOILET COMPARTMENTS	Global Steel Products; enamelled and stainless steel toilet compartments.	Free	Apr 98

10165	PLASTIC LAMINATE TOILET COMPARTMENTS	High-pressure laminate veneered; floor-, wall-, ceiling-mounted; urinal screens.	A	Apr 98

10165	PLASTIC LAMINATE TOILET COMPARTMENTS	Global Steel Products; plastic laminate toilet compartments.	Free	Mar 98

10170	PLASTIC TOILET COMPARTMENTS	No veneer; floor-, wall-, ceiling-mounted; urinal screens.	A	Apr 98

10171	SOLID PLASTIC TOILET COMPARTMENTS	Capitol Partitions solid polymer and solid phenolic compartments and screens.	Free	Oct 97

10171	SOLID PLASTIC TOILET COMPARTMENTS	Global Steel Products; solid polymer and phenolic toilet compartments.	Free	Nov 96

10186	SOLID PLASTIC SHOWER AND DRESSING COMPMNTS	Capitol Partitions solid polymer and solid phenolic shower and dressing dividers.	Free	Oct 97

10191	CUBICLE CURTAINS	Curtains and overhead track; light-duty.	A	Apr 98

10210	WALL LOUVERS	Operable, fixed, acoustical, vertical blade; with frame; blank-off panels.	AME	Apr 98

10260	WALL AND CORNER GUARDS	Corner guards, bumper rails, corridor handrails; PVC, stainless steel, wood.	A	Apr 98

10261	HANDRAILS	Pawling; "Pro-Tek" Handrails.	Free	May 98

10262	WALL GUARDS	Pawling; "Pro-Tek" Wall Guards.	Free	May 98

10263	CORNER GUARDS	Pawling; "Pro-Tek" Corner Guards.	Free	May 98

10264	HIGH IMPACT WALL COVERING	Pawling; "Pro-Tek" Wall Covering.	Free	Aug 97

10270	ACCESS FLOORING	Elevated, modular panels; support system; carpet, resilient, plastic laminate finishes.	A	Apr 98

10291	ARCHITECTURAL BIRD CONTROL	Nixalite(R) of America Inc.; stainless steel needle strips for bird control.	Free	Nov 97

10300	FIREPLACES AND STOVES	Heat-N-Glo Fireplace Products; wood burning and gas fireplaces and stoves.	Free	Feb 98

10305	MANUFACTURED FIREPLACES	Steel cabinet fireplaces; chimney; optional doors, screens, and accessories. 	A	Apr 98

10350	FLAGPOLES	Complete line of ground- and wall-mounted flagpoles by Concord Industries, Inc.	Free	Oct 97

10350	FLAGPOLES	Steel, aluminum, stainless steel, bronze, fiberglass; manual, electric; accessories.	A	Apr 98

10405	THERMOPLASTIC SHEET MATERIALS FOR SIGNAGE	Sheffield Plastics thermoplastic sheet for signage.	Free	Apr 98

10441	PLASTIC SIGNS	Door and wall signs; individual characters; no frames.	A	Apr 98

10445	DOOR AND ROOM SIGNS	Seton Name Plate Co. offers a complete line of building identification products.	Free	Mar 98

10500	LOCKERS	Steel wardrobe lockers, stock sizes; benches, locks.	A	Apr 98

10521	FIRE EXTINGUISHERS	Badger portable and wheeled fire extinguishers.	Free	Mar 98

10523	FIRE EXTINGUISHERS, CABINETS AND ACCESSORIES	Fire extinguishers, cabinets, mounting hardware, and fire blankets.  	AME	Apr 98

10530	PROTECTIVE COVERS	Allmet Building Products, Inc.; complete line of awning and canopy systems.	Free	May 98

10532	LOUVERED OPENING ROOFS	Eclipse Opening Roof; operable aluminum roof louvers, with motor and controller.	Free	Oct 97

10536	AWNINGS	Fixed awnings; standard or custom shape; aluminum or steel pipe or tube frames.	A	Apr 98

10551	MAIL CHUTES	Vertical mail chutes for multi-story buildings; receiving box at chute bottom. 	A	Apr 98

10551	MAIL CHUTES	Valiant; mail and package chute Model P-38; for private mail service.	Free	Mar 98

10552	MAIL BOXES	Multiple mail boxes; interior and exterior.	A	Apr 98

10605	WIRE MESH PARTITIONS	Steel, stainless steel, aluminum; woven or expanded metal; doors, hardware.	A	Apr 98

10616	DEMOUNTABLE GYPSUM BOARD PARTITIONS	Reusable, modular components; doors, frames, insulation, wall covering.	A	Apr 98

10616	DEMOUNTABLE GYPSUM BOARD PARTITIONS	Gravity Lock Systems Inc.; prefinished, demountable gypsum partition systems.	Free	May 98

10651	OPERABLE PANEL PARTITIONS	Folding panel; sliding panel; may be acoustical or fire-rated; manual or electric.	A	Apr 98

10655	ACCORDION FOLDING PARTITIONS	Acoustic and non-acoustic type; manual and electric; overhead track and hardware.	A	Apr 98

10670	STORAGE SHELVING	ClosetMaid/Clairson Intern’l; ventilated wire shelving & laminated closet systems.	Free	May 98

10710	EXTERIOR SHUTTERS	Willard Shutter; "Islander" series of shutter and door products.	Free	Mar 98

10800	TOILET, BATH, AND LAUNDRY ACCESSORIES	Toilet room, shower and tub, residential bath, and utility room accessories. 	A	Apr 98

10810	TOILET ACCESSORIES	American Specialties; complete line of accessories.	Free	Dec 97

10815	BABY ACCESSORIES FOR TOILET ROOMS	Koala Corporation; baby changing stations and child protection seat.	Free	Mar 98

10825	BARRIER-FREE SHOWER DOORS	Tub-Master, LC; barrier-free shower doors.	Free	May 98

Division 11 - Equipment 	21 Sections	Catalogs	Updated

11150	PARKING CONTROL EQUIPMENT	Gates; vehicle detection; ticket, card, coin, or remote controlled access.	A	Apr 98

11161	DOCK LEVELERS	Loading dock levelers; mechanical vehicle safety restraints.	A	Apr 98

11164	DOCK SEALS AND SHELTERS	Loading dock seals and shelters for trucks.	A	Apr 98

11165	DOCK BUMPERS	Rubber, molded or laminated, reinforced; steel frame and joiners, anchor bolts.	A	Apr 98

11172	WASTE COMPACTORS	Packaged commercial waste compactors; not shredders or pulping machines.	A	Apr 98

11177	WASTE RECYCLING SYSTEMS	Valiant Products, Inc. trash recycling chute.	Free	Mar 98

11201	WASH TROUGHS	Warminster Fiberglass Co.; fiberglass; for water treatment facilities.	Free	Mar 98

11202	EFFLUENT (COLLECTION) TROUGHS (LAUNDERS)	Warminster Fiberglass Co.; fiberglass; for waste treatment facilities.	Free	Mar 98

11203	FINGER WEIR PANS	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Mar 98

11204	WEIR PLATES, SCUM BAFFLES, AND BRACKETS	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Mar 98

11205	DENSITY CURRENT BAFFLE SYSTEM	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Mar 98

11206	PALMER-BOWLUS FLUMES	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Mar 98

11207	PARSHALL FLUMES	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Mar 98

11208	METERING MANHOLES	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Mar 98

11286	SLIDE GATES AND GUIDES	Warminster Fiberglass Co.; fiberglass; for water and waste treatment facilities.	Free	Aug 97

11305	ODOR CONTROL SYSTEM	Warminster Fiberglass Co.; fiberglass; for sewage treatment plant clarifiers.	Free	Apr 98

11400	FOOD SERVICE EQUIPMENT	General specification requirements; supplements separate equipment list or schedule.	A	May 98

11600	LABORATORY EQUIPMENT	General specification requirements; supplements equipment schedule.	A	Apr 98

11610	LABORATORY FUME HOODS	Labconco Corp., laboratory fume hoods.	Free	May 98

11611	SELF-CONTAINED FILTERED LABTRY ENCLOSURES	Labconco Corp., self-contained filtered laboratory  enclosures.	Free	May 98

11612	BIOLOGICAL SAFETY CABINETS	Labconco Corp., biological safety cabinets.	Free	May 98

Division 12 - Furnishings 	7 Sections	Catalogs	Updated

12311	METAL CASEWORK	Factory-fabricated, commercial or institutional quality; countertops;  laboratory fittings.	A	Apr 98

12355	RESIDENTIAL CASEWORK	Factory-fabricated modular particleboard; plastic laminate, wood veneer finish.	A	Apr 98

12485	FOOT GRILLES, MATS, AND FRAMES	Pawling Corporation, Standard Products Division; entrance grates and mats.	Free	Mar 98

12486	FLOOR MATS	Surface and recessed; carpet, vinyl link, rubber link, and cocoa types.	A	Apr 98

12492	HORIZONTAL LOUVER BLINDS	Steel, aluminum, or wood; with lifting cord and cord or wand tilting slats.	A	Apr 98

12494	DRAPERY TRACK	Formed steel or extruded aluminum; manual or electrically operated; carriers.	A	Apr 98

12511	MAILROOM FURNITURE	Hamilton Sorter mail receiving, sorting, and distribution components; accessories.	Free	Jun 97

Division 13 - Special Construction	30 Sections	Catalogs	Updated

13032	SAUNAS	Baltic Leisure; pre-cut and pre-built saunas and sauna enclosures.	Free	Jun 97

13032	SAUNAS	Finlandia Sauna Prod., Inc.; pre-cut and pre-built saunas and sauna enclosures.	Free	May 98

13032	SAUNAS	Shop-fabricated site-assembled or site-constructed; room enclosure, equipment.	AME	Apr 98

13034	STEAM ROOMS	Shop-fabricated site-assembled or site-constructed; wood finish; equipment. 	AME	Apr 98

13038	COLD STORAGE ROOMS	Modular, prefabricated insulated wall/ceiling panels; optional floor; doors, equipment.	AME	Apr 98

13095	X-RAY RADIATION PROTECTION	Medical diagnostic only; sheet lead; doors, windows, film transfer cabinets, etc.	A	Apr 98

13100	LIGHTNING PROTECTION	UL-listed and/or LPI-certified; air terminals, conductors, grounding, and bonding.	ME	Apr 98

13110	CATHODIC PROTECTION	Passive, underground corrosion protection using sacrificial anodes.	CME	Apr 98

13121	PRE-ENGINEERED BUILDINGS	Standard packaged steel buildings; frame, metal panels, insulation, doors, windows.	ASC	Apr 98

13121	 PRE-ENGINEERED BUILDINGS	VP Buildings; pre-eng. mtl. bldgs. w/ manufacturer's std. windows, doors, louvers, etc.	Free	Mar 98

13122	PRE-ENGINEERED FIBERGLASS BUILDINGS	Warminster Fiberglass Co.; all-weather buildings, shelters, enclosures.	Free	Mar 98

13123	SOLARIUM	Patio Enclosures; aluminum framed enclosures; pre-engineered and prefabricated.	Free	Mar 98

13152	SWIMMING POOL	Shotcrete, or modular aluminum or fiberglass; accessories.	AME	Apr 98

13171	HOT TUBS	Shop-fabricated site-assembled or site-constructed; decking; equipment.	AME	Apr 98

13411	INSTRUMENT CONSOLES	Warminster Fiberglass Co.; fiberglass consoles for water and waste treatment facilities.	Free	Aug 97

13611	SOLAR FLAT PLATE COLLECTORS	Solar collectors, controls, pipe materials, fittings, valves, tanks, pumps.	ME	Apr 98

13701	VIDEO SURVEILLANCE	Closed circuit television equipment and accessories for security monitoring.	ME	Apr 98

13702	INTRUSION DETECTION SYSTEM	Detectors and alarm devices and systems to detect intrusion.	ME	Apr 98

13704	SECURITY ACCESS SYSTEM	Devices and electronic systems for controlling access to buildings.	ME	Apr 98

13801	ELECTRIC CONTROLS AND RELAYS	Switches, pushbuttons, relays, timers, counters, control power transformers, panels.	ME	Apr 98

13802	CLOCK AND PROGRAM SYSTEMS	Systems for announcing and recording time intervals.	ME	Apr 98

13803	PROGRAMMABLE CONTROLLERS	Controllers and programming accessories.	ME	Apr 98

13852	FIRE ALARM SYSTEM	Manual and automatic; coded, non-coded, zoned; detectors, alarms, panels, cable.	ME	Apr 98

13910	FIRE PROTECTION BASIC MATERIALS AND METHODS	Pipe materials, fittings, and valves normally found in liquid fire protection systems. 	ME	Apr 98

13920	FIRE PUMPS	Fire pumps; electric motor and diesel engine drivers; electric jockey pumps; controls. 	ME	Apr 98

13925	FIRE SUPPRESSION SPRINKLERS	Automatic system; may be designed by a specialist sprinkler company. 	ME	Apr 98

13966	TOTAL FLOODING EXTINGUISHING SYSTEM	Detection, controls, and flame extinguishing agent storage and distribution.	ME	May 98

13975	STANDPIPES AND FIRE HOSES	Wet or dry standpipes; fire hose cabinets and hose; fire department connection.	ME	Apr 98

13980	RETROFIT-SPRINKLER PIPING COVER SYSTEM	Creative Systems; DecoShield piping cover systems.	Free	Mar 98

13980	SPRINKLER PIPING COVER ASSEMBLIES	Grice Engineering, Inc. fire sprinkler piping cover assembly.	Free	Mar 98

Division 14 - Conveying Systems 	11 Sections	Catalogs	Updated

14100	DUMBWAITERS 	Electric; drum or traction drive; standard manufactured units.	A	Apr 98

14100	DUMBWAITERS	Vincent Whitney; hand-operated dumbwaiters.	Free	Apr 98

14201	PASSENGER ELEVATORS	Geared and gearless electric traction; conventional hydraulic and holeless.	A	Apr 98

14202	FREIGHT ELEVATORS	Electric and hydraulic freight elevators; standard manufactured units.	A	Mar 98

14271	CUSTOM ELEVATOR CABS AND HOISTWAY DOORS	Supplements Section 14201.	A	Apr 98

14281	ELEVATOR EQUIPMENT	Supplements Sections 14201 and 14202; detailed descriptions for non-standard units.	A	Feb 98

14282	PASSENGER ELEVATOR CONTROL SYSTEMS	Supplements Section 14201; detailed descriptions.	A	Mar 96

14310	ESCALATORS	Standard packaged escalators; glass and solid balustrades; 30 degree incline.	A	Apr 98

14410	PEOPLE LIFTS	Mengo Industries, Inc.; pool access systems.	Free	May 98

14420	WHEELCHAIR LIFTS	Garaventa - Model GSL-1; int./ext. stair wheelchair lifts/emergency evacuation chairs.	Free	Mar 98

14421	WHEELCHAIR LIFTS	Garaventa - Model GSL-2; int. stair wheelchair lifts/emergency evacuation chairs.	Free	May 98

Division 15 - Mechanical 	86 Sections	Catalogs	Updated

15055	PLUMBING SOLDER	Taracorp/IMACO, Inc.; lead-free plumbing solder.	Free	May 98

15065	MOTORS FOR MECHANICAL EQUIPMENT	Electric motors and accessories normally supplied as part of mechanical equipment.	ME	Mar 98

15072	VIBRATION ISOLATION	Inertia bases and vibration isolators for rotary and reciprocating equipment.	ME	Aug 96

15075	MECHANICAL IDENTIFICATION	Field-installed nameplates, labels; piping identification.	ME	Dec 97

15076	PIPING AND VALVE IDENTIFICATION	Seton Name Plate Co.; complete line of markers, stencils and tags.	Free	Mar 98

15082	PIPING INSULATION	Thermal insulation; jackets; accessories.	ME	Mar 98

15083	PIPING SAFETY COVERS	Truebro, Inc. piping safety covers and undersink enclosures for lavatories and sinks.	Free	May 98

15084	EQUIPMENT INSULATION	Thermal insulation; jackets; accessories.	ME	Mar 98

15086	DUCT INSULATION	Thermal and acoustic insulation; jackets; for ducts and air handling devices.	ME	May 98

15115	THERMOSTATIC WATER MIXING VALVES	Leonard Water Temperature Controls; water temperature controls.	Free	May 98

15122	PIPING EXPANSION COMPENSATION	Fittings and practices to compensate for thermal expansion and other movement.	ME	Mar 98

15128	GAGES AND METERS	Fixed measuring devices showing local indication of conditions.	ME	May 98

15145	PLUMBING PIPING	Soil, waste, vent, domestic water, storm water, and natural gas piping; disinfection.	CME	May 98

15146	PLUMBING SPECIALTIES	Roof and floor drains; cleanouts; hose bibs; hydrants; backflow preventers; etc.	ME	Mar 98

15182	HYDRONIC PIPING	Heating, glycol, chilled water, condenser water, and engine exhaust piping systems. 	ME	Mar 98

15183	HYDRONIC SPECIALTIES	Expansion tanks; air vents; relief valves; strainers; flow indicators; air separators; etc.	ME	Aug 96

15184	STEAM AND STEAM CONDENSATE PIPING	Pipe materials, fittings, and valves normally encountered.	ME	Mar 98

15185	STEAM AND STEAM CONDENSATE SPECIALTIES	Traps; air vents; tanks; boiler feed units; condensate return pumps; valves; etc.	ME	Mar 98

15186	REFRIGERANT PIPING AND SPECIALTIES	Piping and piping specialties normally found in built-up refrigerant systems.	ME	Mar 98

15188	HEATING AND COOLING SYSTEM PUMPS	Centrifugal pumps and accessories normally encountered in hydronics systems.	ME	Mar 98

15189	CHEMICAL WATER TREATMENT	Equipment/materials for cleaning and treating HVAC hydronic and steam systems.	ME	Aug 96

15191	FUEL OIL PIPING SYSTEM	Pipe materials, fittings, and valves normally encountered.	CME	May 98

15212	COMPRESSED AIR SYSTEM	Non-medical; pipe and pipe fittings; compressor; equipment.	ME	Mar 98

15214	MEDICAL GAS SYSTEMS	The most common medical gas systems and components; specialized outlets.	ME	May 98

15410	PLUMBING FIXTURES	Representative examples of plumbing fixtures and trim. 	AME	May 98

15411	PLASTIC BATHTUBS	Gruber Systems Inc.; cast filled polymer plastic bathtubs, made using Gruber molds.	Free	Mar 98

15412	HOSPITAL PLUMBING FIXTURES	Fixtures especially designed for medical and psychiatric facilities.	AME	May 98

15415	RESTROOM PLUMBING FIXTURES	American Standard; toilets, urinals, lavatories, and faucets.	Free	May 98

15430	PLUMBING EQUIPMENT	Water heaters; heat exchangers; storage tanks; pumps for plumbing systems.	ME	Mar 98

15495	SWIMMING POOL EQUIPMENT	Piping and equipment that is normally installed by a single installer.	ME	Mar 98

15512	CAST-IRON BOILERS	Packaged boilers, controls, and boiler trim accessories; hot water/steam generation.	ME	Mar 98

15514	FINNED WATER-TUBE BOILERS	Packaged hot water boilers, controls, and accessories.	ME	Mar 98

15516	STEEL WATER-TUBE BOILERS	Packaged hot water/steam; power burners; controls; natural gas, propane, fuel oil.	ME	Mar 98

15518	FIRE-TUBE BOILERS	Packaged hot water/steam; power burners; controls; natural gas, propane, fuel oil.	ME	Mar 98

15519	ELECTRIC BOILERS	Packaged hot water/steam boilers; controls.	ME	Mar 98

15535	FORCED AIR FURNACES	Gas, oil, and electric; with air conditioning, humidifiers, air cleaners. 	ME	Mar 98

15542	DIRECT FIRED AIR UNITS	Gas fired make-up air units; integrated air-cooled refrigeration; indoor and outdoor.	ME	May 98

15544	FUEL FIRED UNIT HEATERS	Unit heaters, industrial heaters, duct furnaces, infrared heaters; packaged units.	ME	Mar 98

15550	BREECHINGS, CHIMNEYS, AND STACKS	Built-up and manufactured products; vent dampers; induced draft fans.	ME	May 98

15610	REFRIGERATION COMPRESSORS	Packaged compressors; controls and motor starters.	ME	Mar 98

15620	PACKAGED WATER CHILLERS	Scroll, reciprocating, screw compressors; optional water cooled condenser.	ME	Mar 98

15622	AIR COOLED WATER CHILLERS	Packaged reciprocating compressor, air cooled condenser; outdoor installation.	ME	Mar 98

15623	CENTRIFUGAL WATER CHILLERS	Packaged centrifugal compressor, water cooled condenser.	ME	May 98

15624	WATER/STEAM ABSORPTION WATER CHILLERS	Packaged;  lithium bromide refrigerant, hot water or steam heat source; controls.	ME	Mar 98

15625	GAS FIRED ABSORPTION WATER CHILLERS	Packaged; lithium bromide refrigerant; gas or fuel oil heat source; controls.	ME	Mar 98

15626	GAS FIRED UNITARY ABSORPTION WATER CHILLERS	Packaged; lithium bromide or ammonia refrigerant; natural gas heat source; controls.	ME	Mar 98

15641	INDUCED DRAFT COOLING TOWERS	Wood, steel, fiberglass; fans, fill, controls; framework, safety railing, ladder.	ME	Mar 98

15642	FORCED DRAFT COOLING TOWERS	Steel, blow-through; fan, fill, controls; framework, safety railing, ladder.	ME	Mar 98

15643	EJECTOR COOLING TOWERS	Packaged, steel, parallel flow, blow-through, water injection process; controls.	ME	Mar 98

15662	LIQUID COOLERS	Packaged liquid coolers using evaporative cooling; circulating pump; accessories.	ME	Mar 98

15671	AIR COOLED CONDENSING UNITS	Outdoor; enclosure, refrigerant compressors, condensing coils and fans, controls.	ME	Mar 98

15675	AIR COOLED REFRIGERANT CONDENSERS	Indoor or outdoor; air coils, condenser fans, controls, and accessories.	ME	Mar 98

15710	HEAT EXCHANGERS	Shell and tube type; plate type;  common accessories.	ME	Mar 98

15720	AIR HANDLING UNITS	Modular packaged units; coils, mixing boxes, filters, dampers, humidifiers.	ME	May 98

15735	PACKAGED ROOF TOP AIR CONDITIONING UNITS	Self-contained; electric cooling; gas, electric, or heat pump heating; controls.	ME	Mar 98

15736	PACKAGED TERMINAL AIR CONDITIONING UNITS	Free standing or through-the-wall; air conditioning and heat pump units; controls.	ME	Mar 98

15737	UNITARY AIR CONDITIONERS	Packaged indoor refrigerant units; water cooled or external air cooled condenser.	ME	Mar 98

15738	COMPUTER ROOM AIR CONDITIONING UNITS	Floor mounted.	ME	Mar 98

15739	COMPUTER RM AIR COND UNITS - UNITARY CEILING	Ceiling mounted unitary units.	ME	Aug 96

15753	EVAPORATIVE HUMIDIFIERS	Wetted media humidifiers and evaporative coolers; for installation in equipment.	ME	Mar 98

15754	EVAPORATIVE PAN HUMIDIFIERS	Heated pan humidifiers using hot water, steam, or electricity for heat source.	ME	Mar 98

15755	STEAM HUMIDIFIERS	Dry steam humidifiers (external steam source); electrode steam humidifiers.	ME	Mar 98

15756	SPRAYED COIL DEHUMIDIFIERS	Packaged; for central air handling units; optional spray pumps.	ME	May 98

15762	TERMINAL HEAT TRANSFER UNITS	For hydronic and steam heating systems; electric heaters.	ME	Aug 96

15765	AIR COILS	Air system coils; water, glycol/water, steam, and halon; electric heating coils.	ME	May 98

15771	HEATING CABLES AND MATS	Electric; for snow melting, heat tracing, etc.	ME	Aug 96

15810	DUCTS	Materials, construction, supports, cleaning; no seismic requirements.	ME	May 98

15815	FLEXIBLE DUCTWORK	Flexible metal duct units produced by Metalflex Div., Professional Duct Systems, Inc.	Free	Feb 98

15819	AIR DUCT SEALANTS	RCD Corporation; sealants for air ducts and thermal insulation.	Free	Apr 98

15820	DUCT ACCESSORIES	Control, smoke, and fire dampers; access doors, test holes, air turning devices.	ME	May 98

15822	SOUND ATTENUATORS	Duct and cross-talk silencers, acoustic housings, duct lagging, acoustical louvers.	ME	May 98

15831	AIR CURTAINS, COMMERCIAL	Mars Air Doors; commercial air curtains.	Free	May 98

15832	AIR CURTAINS, INDUSTRIAL	Mars Air Doors; industrial air curtains.	Free	May 98

15833	CENTRIFUGAL FANS	Backward inclined, forward curved, airfoil, radial, tubular, inline; motors and drives.	ME	May 98

15834	AXIAL FANS	Vaneaxial, tubeaxial, propeller; motors and drives.	ME	May 98

15835	POWER VENTILATORS	Roof and wall exhausters; cabinet and ceiling exhaust fans.	ME	Mar 98

15838	CARBON MONOXIDE EXHAUST SYSTEMS	Ductwork, fittings and equipment; complete system.	ME	May 98

15840	AIR TERMINAL UNITS	Constant and variable volume duct units; dual duct units with diffusers; controls. 	ME	Mar 98

15850	AIR OUTLETS AND INLETS	Roof, wall, floor diffusers; registers, grilles, louvers; louvered penthouses; roof hoods.	ME	May 98

15860	AIR CLEANING DEVICES	Air filters and air cleaning devices.	ME	Mar 98

15865	DUST COLLECTION SYSTEMS	Equipment, ducts, and accessories; complete system.	ME	May 98

15924	ANALOG CONTROL EQUIPMENT	All types of devices normally found in a complete pneumatic control system.	ME	Mar 98

15926	DIGITAL CONTROL EQUIPMENT	Components and software for a direct digital HVAC control system.	ME	Mar 98

15928	INSTRUMENTS AND CONTROL ELEMENTS	Augments Sections 15924 and 15926; also may be used stand-alone.	ME	Mar 98

15940	HVAC SEQUENCE OF OPERATION	To be used for description of overall operation, coordinating all HVAC sections.	ME	Nov 97

15950	TESTING, ADJUSTING, AND BALANCING	Air and water systems testing, adjusting, and balancing.	ME	Mar 98

Division 16 - Electrical 	59  Sections	Catalogs	Updated

16060	GROUNDING AND BONDING	Basic materials and methods; for electrical systems, building structure, and piping.	ME	Mar 98

16070	HANGERS AND SUPPORTS	Straps, clamps, steel channel, and fastening hardware for supporting electrical work.	ME	Mar 98

16075	ELECTRICAL IDENTIFICATION	Field-installed nameplates, labels, etc., for equipment, components, and wiring.	ME	Mar 98

16095	MINOR ELECTRICAL DEMOLITION	Removal and abandonment of wiring, conduit, and equipment.	ME	May 96

16121	MEDIUM-VOLTAGE CABLE	Cable and accessories, for systems rated above 600 volts to 35,000 volts.	ME	Mar 98

16123	BUILDING WIRE AND CABLE	Wire and cable with insulation rated 600 volts and less.	ME	Mar 98

16125	UNDERCARPET CABLE	Flat conductor cable and fittings for power, communications, and data circuits.	ME	Mar 98

16127	MANUFACTURED WIRING ASSEMBLIES	Prefabricated flexible wiring assemblies for branch circuit distribution.	ME	Mar 98

16131	CONDUIT	Metal and nonmetallic electrical conduit and tubing.	ME	Mar 98

16132	SURFACE NONMETALLIC RACEWAYS	Carlon Electrical Products; multi-channel PVC surface raceway.	Free	Mar 98

16132	SURFACE RACEWAYS	Metal and nonmetal raceways, multi-outlet assemblies, wireway, and wall duct.	ME	Mar 98

16132	SURFACE NONMETALLIC RACEWAYS	The Wiremold Company; Access 5000, 5400, and 5500 systems.	Free	Mar 98

16132	SURFACE METALLIC RACEWAYS	Wiremold, 4000 series.	Free	Mar 98

16133	UNDERFLOOR DUCTS	Underfloor duct, fittings and accessories, and installation of wire and cable in duct.	ME	Mar 98

16134	CABLE TRAYS	Metal and fiberglass cable trays.	ME	Mar 98

16135	UTILITY COLUMNS	Freestanding indoor utility columns for power, telephone, and data outlets.	ME	Mar 98

16138	BOXES	Wall and ceiling outlet boxes, floor boxes, pull and junction boxes.	ME	Mar 98

16139	CABINETS AND ENCLOSURES	Metal cabinets and enclosures for terminal blocks and electrical devices. 	ME	Mar 98

16140	WIRING DEVICES	Receptacles, wall switches, dimmers, telephone jacks, and access floor boxes.	ME	Mar 98

16155	EQUIPMENT WIRING	Connections for mechanical, architectural, and other equipment.	ME	Mar 98

16210	ELECTRICAL UTILITY SERVICES	Incoming 600 volt or less service, equipment, and metering.	CME	Mar 98

16215	ELECTRICAL SENSING AND MEASUREMENT	Instrument transformers, switches, relays, transducers, and meters.	ME	Mar 98

16231	PACKAGED ENGINE GENERATORS	Complete generator set for emergency and standby power.	ME	Mar 98

16232	ROTARY UNINTERRUPTIBLE POWER SUPPLY	Converters and frequency changers with energy storage; for computers, etc.	ME	Mar 98

16243	EMERGENCY POWER SUPPLY	Small battery and inverter power supply (generally under 10 kva). 	ME	Mar 98

16261	CONVERTERS	AC to DC converters, AC frequency changers, and single- to three-phase converters.	ME	Mar 98

16263	STATIC UNINTERRUPTIBLE POWER SUPPLY	Larger than 10 KVA but under 300 KVA.	ME	Mar 98

16271	PAD-MOUNTED DISTRIBUTION TRANSFORMERS	Liquid-filled; dry-type; primary voltage 2 to 34.5 kV; secondary voltage 600 V and less.	ME	Mar 98

16272	DRY TYPE TRANSFORMERS	Enclosed; for lighting and power loads; primary/secondary voltage 600 V and less.	ME	Mar 98

16281	POWER FACTOR CAPACITORS	Unit capacitors, assemblies, automatically-switched capacitors; 600 volts and less.	ME	Mar 98

16311	OVERHEAD LINE MATERIALS	Line conductors and accessories for outdoor overhead power distribution.	CME	Mar 98

16341	CIRCUIT BREAKER SWITCHGEAR	Switchgear rated 2 kV to 15 kV; air-magnetic and vacuum interrupter circuit breakers.	ME	May 98

16342	AIR INTERRUPTER SWITCHES	Air break type interrupter switches for medium-voltage applications, 34.5 kV and less.	ME	Mar 98

16343	MEDIUM-VOLTAGE OIL SWITCHES	For applications at 34.5 kV and less.	ME	Mar 98

16344	MEDIUM-VOLTAGE MOTOR CONTROLLERS	NEMA Class E2 controllers, rated 6.6kV or less; fused.	ME	Mar 98

16360	UNIT SUBSTATIONS	Secondary unit substations; primary voltage to 34.5 kV; low-voltage secondaries.	ME	May 98

16411	ENCLOSED CIRCUIT BREAKERS	Molded case circuit breakers; trip units; current limiters; enclosures.	ME	Mar 98

16412	ENCLOSED SWITCHES	For use as disconnects in service and distribution systems rated 600 volts and less.	ME	Mar 98

16413	ENCLOSED TRANSFER SWITCHES	Automatic and manual transfer and bypass/isolation switches; 600 volts and less.	ME	Mar 98

16414	REMOTE CONTROL SWITCHING DEVICES	Low voltage control of 120 and 277 volt lighting and general purpose branch circuits.	ME	Mar 98

16422	PEAK LOAD CONTROLLERS	Standalone controllers that sense power demand; for alarm or load shedding.	ME	Mar 98

16423	ENCLOSED MOTOR CONTROLLERS	Manual and automatic controllers for AC induction motors.	ME	Mar 98

16424	MOTOR CONTROL CENTERS	Enclosures; automatic controllers for AC induction motors; disconnects.	ME	Mar 98

16425	VARIABLE FREQUENCY CONTROLLERS	Three-phase motor controllers of the pulse-width-modulated design.	ME	Mar 98

16426	ENCLOSED CONTACTORS	For feeders and branch circuits for lighting, heating, and general purpose loads.	ME	Mar 98

16442	DISTRIBUTION SWITCHBOARDS	Enclosed circuit breaker and fusible switch types; for service and distribution.	ME	Mar 98

16443	PANELBOARDS	Fusible switch and circuit breaker types; switches and breakers; load centers.	ME	Mar 98

16451	FEEDER AND PLUG-IN BUSWAY	Rated 150 amperes to 5000 amperes, 600 volts and less.	ME	Mar 98

16470	POWER DISTRIBUTION UNITS	Unit power conditioning equipment for electronic data processing installations.	ME	Mar 98

16491	FUSES	Fuses for use in low voltage power distribution circuits.	ME	Mar 98

16510	INTERIOR LUMINAIRES	Luminaires, emergency lighting units, exit signs, and luminaire accessories.	AME	Mar 98

16520	EXTERIOR LUMINAIRES	Luminaires, poles, and accessories.	ME	Mar 98

16526	OBSTRUCTION AND LANDING LIGHTS	FAA-required building marking; helicopter pad landing lights.	ME	Mar 98

16555	THEATRICAL LIGHTING	Lighting fixtures; dimming and control equipment and accessories.	ME	Mar 98

16721	TELEPHONE SERVICE, PATHWAYS, AND WIRING	Utility coordination, termination backboards and cabinets, and premises wiring.	ME	Mar 98

16722	NURSE CALL SYSTEM	Annunciator and intercom equipment; call stations; master stations; power supply.	ME	Mar 98

16723	INTERCOM SYSTEM	Intercom equipment; master stations; for private interoffice communication.	ME	Aug 96

16781	TELEVISION DISTRIBUTION SYSTEM	Master antenna (MATV); satellite (SMATV); cable/community antenna (CATV).	ME	Mar 98

16821	PUBLIC ADDRESS AND MUSIC EQUIPMENT	Speakers, amplifiers, players, cable; for paging, announcements, background music.	ME	Mar 98

Total Sections:  659