## Sheet1
Wall Base | [8 empty] | Wall Base and Corners | Wall Base and Corners
| Physical Characteristics |  |  | Recommended Subfloors/Adhesives |  |  |  |  | U.S. & Canadian Government | PACKING DATA
|  |  | Indentation | Consult Azrock Information Manual ¤ |  |  |  |  | Specifications
| Size | Gauge | resistance | for complete and detailed information | [6 empty] | Linear Feet |  | Pieces |  | Approximate Pounds |  | Linear Meters |  | Approximate Kilograms
|  |  | in pounds | [6 empty] | Description | Per Carton |  | Per Carton |  | Per Carton |  | Per Carton |  | Per Carton
|  |  | per sq. in. | Concrete, suspended | Concrete, on grade § | Concrete, below grade § | APA Plywood suspended | APA Sturd-i-floor³ |  | Vinyl Wall Base | .080" | 1/8" | .080" | 1/8" | .080" | 1/8" | .080" | 1/8" | .080" | 1/8"
Vinyl | Length: 48" or 120' | .080" | N/A | All Vinyl Cove Wall should |  |  |  |  | SS-W-40a, Type II, Class 1. | 4" x 48" Vinyl Wall Base | 120' | 120' | 30 | 30 | 33 | 48 | 36.58 | 36.58 | 14.97 | 21.77
| Height: 4" | or 1/8" |  | be installed with Azrock Wall |  |  |  |  | ASTM E-84 (NFPA-255) | 4" Vinyl Outside Corners | --- | --- | 10 | 10 | 2 | 2 | ---- | ---- | 0.91 | 0.091
|  |  |  | Base Adhesive |  |  |  |  | with a flame spread rating | 4" x 120' Vinyl Wall Base | 120' | 120' | 1 Roll | 1 Roll | ---- | 48 | 36.58 | 36.58 | ------ | 21.77
³ APA Sturd-i-floor constructed per APA Design/Construction Guide, | [8 empty] | of less than 25
Residential and Commercial, Form E30L, revised
§ Moisture test recommended
¤ All Azrock products should be maintained according to the recommended
procedures outlined in the current Domco Installation & Maintenance Manual.