HOUSE_II TAPE FILES CONT'D

I/O T NO.   DESCRIPTION

--- ------  ---------------------------------------------------

I TAPE20  - NSEQW=0: Random access weather data file (Carrier format)

O TAPE21 - Cooling system output file (see ENDLP1)

I TAPE22 - (Optional) Infiltration vs time (see ACHL)

IO TAPE25 - Handbook reference net loads

I TAPE30 - Namelist CONTROL (read in STRRUN)

O TAPE31 - Hbk output daily Q-flows

O TAPE32 - Hbk output daily handbook factors

O TAPE33 - Hbk output daily HROUT array

O TAPE34 - Hbk output daily HRPRT array

O TAPE35 - Hbk output monthly OUTDY array

O TAPE36 - Hbk output monthly SEASUM array

O TAPE37 - Hbk output daily hbk total energy (7 values)

I TAPE40 - NSEQW=1: Consecutive hourly data file

I          NSEQW=2: Measured house data

I          NSEQW=3: Compressed WYEC weather data

O TAPE41 - NSEQW=2: See WETHR

I          NSEQW=3: Working file of compressed weather (see WWEATH)

IO TAPE43 - Ground temps at end of ground-preconditioning period

I TAPE45 - Air temp vs time in attached space (read in WETHR)

O TAPE51 - Output: program generated event file

O TAPE60 - Main output file